## Metadata
Rescued station metadata from meteorological manuscripts and other cited sources for Birr Castle Second Order Station
Date | Metadata | Description
19th century | Thermometers | Note on a thermometer at Birr Observatory: "Thermometer - maximum Yeates & Son 2 Grafton St Dublin. B 265x40x17. 1840-1864. F. Wood base; J glass tube; large yellow spirit reservoir smaller arm; scale -30-120; two brass hanging rings. To be set up horizontally; maximum dumb-bell marker now surrounded by spirit, so the thermometer is not working, but could probably be readily fixed. Assumed to be George Yeates & Son, since the address is given; dates Morrison-Low 1989, 139." (Mollan, 1995: 34).
1845 | Station history | Despite references on meteorological observations dating back to 1845 (Dixon, 1987), there are no traceable handwritten registers or publications on daily maximum or minimum air temperature records. Additionally, there are no references on maximum or minimum air temperature registers in the Rosse paper summary list archives at Birr Castle Archives (Birr Castle Archives, n.d.). The station at Birr Castle co. Offaly is often referred as Parsonstown or Birr Castle - King's County.
1872 - 1911 | Data-source | Manuscripts. Met Éireann. Meteorological observations for Birr Castle, Parsonstown, Co. Offaly. Manuscripts MÉ/MO/2/1 and MÉ/MO/2/2.
| Observations | Data are available as one decimal place degrees Fahrenheit.
May 1872 | Observations | The earliest traceable handwritten meteorological registers containing daily maximum and minimum air temperature observations (in shade) dating back to May 1872 (Keane et al., 2017).
| Location | 53º 5' 8'' N, 7º 55' 2'' W.
May 1872 - August 1874 | Observation time; data-entry | 8 a.m. The daily maximum air temperature values have been rescued and entered to the day as they were recorded in the meteorological manuscript. There is no information in the manuscripts as to whether or not the values have been thrown back to the previous day.
May 1872 - September 1874 | Thermometers | Maximum thermometer in shade Dancer 1536.
Minimum thermometer in shade Negretti & Zambra 2496.
1 May 1872 | Thermometers | Maximum thermometer in shade Dancer 1536, corrections (oF) at: 22o (-); 32o (-0.2); 42o (-0.3); 52o (-0.4); 62o (-0.5); 72o (-0.5); 82o (-0.3); 92o (-0.1). Where and when compared: Kew 1861.
Minimum thermometer in shade Negretti & Zambra 2496, corrections at 52o: -0.4. Where and when compared: not known instrument, came from Meteorological Office.
June 1872 | Thermometer screen | "The thermometers which are at a distance from any building are surrounded by a double lattice of wood through which the air circulates freely."
| Observations | "The corrections to the thermometers have been applied."
| Thermometers; observations | "On the 2nd and 3rd a new maximum thermometers was used, which however failed, the numbers given are the 4 p.m. reading increased by the mean difference of the maximum 4 p.m. reading for 5 days preceding & following."
| Observer | L. Brown (at 8 a.m.) for the Earl of Rosse.
July 1872 | Observer | J. Mitchell for the Earl of Rosse.
5 July 1872 | Observations | "Minimum thermometer out of order; minimum deduced from the min. night reading by comparison until 5 days preceding and following."
9 July 1872 | Observations | "56.9° entered originally as minimum temperature. Some great mistake: 51.9° adopted."
August 1872 | Observer | Earl of Rosse and staff.
11 August 1872 | Observations | "The minimum thermometer was originally entered as 55.7° as this reading is above the min night one, a mistake of 5.0° has been assumed."
14 August 1872 | Observations | "The minimum thermometer was entered as being 62.1°. An error of 20.0° has been assumed."
September 1872 | Observations | "On the 14th & 15th the min. therm [minimum thermometer] was deranged. The nos. given are 3.3° below the midnight reading. The difference being derived from the reading on September 11, 12, 13, 17, 17, 19."
"Min reading diminished by 5.0°."
15 October 1872 | Observations | "Wet and dry bulb, max & min thermometers read at 9 a.m."
5 November 1872 | Observations | "Min. therm. originally entered 58.4°; 48.4° adopted."
16 November 1872 | Observations | "Max. thermometer failed to act, the reading has been deduced from the 4 p.m. reading by comparing the temperature for 5 days before and after."
1873 | Thermometers | Thermometers 3 ft. and 6 inch above ground (Meteorological Office, 1874).
| Observer | R. Copeland, PhD for Earl of Rosse (Meteorological Office, 1874).
| Location | 53° 6’ N, 7° 55’ W; height a.m.s.l. 182 ft. (Meteorological Office, 1874).
January 1873 – August 1874 | Observations | Daily maximum and minimum air temperature readings at 8 a.m. (Meteorological Office, 1874, 1875).
29 January 1873 | Thermometers; observations | "Minimum reading taken from another thermometer, the one used being somewhat out of order."
25 July 1873 | Thermometers; observations | "25th. Min. Thermometer Neg & Zam [Negretti & Zambra] 2496 out of order: reading taken from auxiliary ther. N & Z. 1871 [thermometer Negretti & Zambra]. The correction of which is -0.5°."
18 September 1873 | Thermometers; observations | "Min. Therm. Negr. & Zambra [Negretti & Zambra] 1871 used as 2496 failed to act."
28 September 1873 | Thermometers; observations | "Min. Therm. Negr. & Zambra [Negretti & Zambra] used as 2496 failed to act."
November 1873 | Thermometers; observations | Minimum thermometer in shade no. Negretti & Zambra 2496, corrected at 52o: +0.1. When and where compared: From 12 comparisons during the current month with B.T. 115.
1874 | Observations; observer | “For the year 1874 the Parsonstown observations will again be published in full, the observer, however, being J. Dreyer from August, Dr. Copeland having left the observatory.” Meteorological Council (1875: 26).
| Location; height of station | 53o 6' N, 7o 55' W; Height above mean sea level: 182 feet. (Meteorological Office, 1874).
Since 1886, in the publications Meteorological Observations at Stations of Second Order, the station height above mean sea level is mentioned as 175 feet (Meteorological Office, 1890).
| Observations; observer | “For the year 1874 the Parsonstown observations will again be published in full, the observer, however, being J. Dreyer from August, Dr. Copeland having left the observatory.” Meteorological Council (1875: 26).
| Location; height of station | 53o 6' N, 7o 55' W; Height above mean sea level: 182 feet. (Meteorological Office, 1874).
Since 1886, in the publications Meteorological Observations at Stations of Second Order, the station height above mean sea level is mentioned as 175 feet (Meteorological Office, 1890).
5 January 1874 | Thermometers; observations | "5th. 8 a.m. Minimum thermometer out of order. Extra thermometer N&Z 1871 [Negretti & Zambra] used."
26 March 1874 | Observations | "Min. therm. lessened by 5°."
June - July 1874 | Observer | James Mitchell for the Earl of Rosse.
11 June 1874 | Thermometers | "Min. Therm. Negr. & Zambr. [Negretti & Zambra] 1871 used as 2496 failed to act."
16 June 1874 | Thermometers | "Min. Therm. Negr. & Zambr. [Negretti & Zambra] 1871 used as 2496 failed to act."
11 July 1874 | Observations | "Minimum therm. must certainly be 53.0 instead of 63, which is noted as original reading."
August 1874 | Observations | Extract of a copy of a letter sent by Pope (based at Birr] on 16th August 1874 to Captain Toynbee:
“Temperatures – From comparison with the dry bulb thermometer Dr. Copeland assumed that the minimum (1871) had no error. In fact when the two differed he assumed that the thermometer without an index, was more to be trusted than one with an index.”
[...]
“I hope to see Mr. Scott at Belfast, and will arrange about the time for beginning the 9 a.m. and 9 p.m. readings.”
August 1874 | Observer | John Louis Emil Dreyer (Astronomer) for the Earl of Rosse.
September 1874 - May 1877 | Observer | John Louis Emil Dreyer (Astronomer) for the Earl of Rosse.
September 1874 – December 1879 | Observation time | Observations at 9 p.m.
Dublin Time (Monthly Notices of the Royal astronomical Society, 1876).
September 1874 – December 1884 | Thermometers | Height of self-registering thermometers above ground: 3ft and 6 inches (Meteorological Office, 1875, 1876, 1877, 1880, 1882, 1885, 1886, 1887, 1888a,b).
October - December 1874 | Thermometers | No information on the thermometer nos. in the meteorological manuscripts.
January 1875 | Thermometers | Maximum thermometer no. M.O 85. There is no more information in the manuscripts, in other months, for this or other thermometer.
| Thermometers | Minimum thermometer no. M.O 47. There is no more information in the manuscripts, in other months, for this or other thermometer.
July 1875 | Observations | "The minimum thermometer failed to act on the 2nd, the 8th and the 23rd."
2 July 1875 | Thermometers; observations | “Min. therm. [minimum thermometer] failed to act.” (Meteorological Office, 1876: 35)
8 July 1875 | Thermometers; observations | “Min. therm. [minimum thermometer] failed to act.” (Meteorological Office, 1876: 35)
23 July 1875 | Thermometers; observations | “Min. therm. [minimum thermometer] failed to act.” (Meteorological Office, 1876: 35)
12 August 1875 | Thermometers | "Minimum thermometer failed to act."
January 1876 | Thermometers | "There is discordance between the reading of the dry bulb at 9 a.m. and the min. therm [minimum thermometer] on the 11th."
3 March 1876 | Thermometers | "Minimum thermometer failed." "Interpolation."
June 1876 | Thermometers | "Minimum thermometer failed."
July 1876 | Thermometers | "Minimum thermometer failed to act on the 5th, 13th, 22nd & 26th."
October 1876 | Thermometers | "Minimum thermometer failed" on the 9th, 27th and 31st.
12 October 1876 | Observation time | “Evening observations taken at 9.30 p.” (Meteorological Office, 1877: 79).
12 October 1876 | Observation time | "9 p.m. reading taken at 9:30 on account of astron. obs."
18 December 1876 | Thermometers | "Minimum thermometer failed to act."
13 January 1877 | Observation time | "9 p.m. reading taken at 9:45 on account of astron. obs."
12 April 1877 | Observation time | "9 p.m. reading 1h late."
June 1877 | Thermometers | "Minimum thermometer failed to work" on 26th, 27th, 29th and 30th. The available readings are interpolations.
| Observer | J. Mitchell.
July 1877 - July 1878 | Observer | John Dreyer.
1 - 2 July 1877 | Thermometers | "Minimum thermometer not read off by a mistake."
10 July 1877 | Thermometers | "Minimum thermometer failed to act" on the 10th and 23rd.
23 July 1877 | Thermometers | "Minimum thermometer failed to act" on the 10th and 23rd.
August 1878 - September 1879 | Observer | William Harding.
1879-1880 | Station history | “The council have therefore, by the kind permission of the Earl of Rosse, substituted his observatory at Birr Castle for Kingstown, thus obtaining for the Office telegraphic information, hitherto wanting, as to the weather prevailing in the central districts of Ireland" (Meteorological Council, 1881: 11).
October 1879 | Observer | G. Keating.
November - December 1879 | Observer | William Harding.
10 November 1879 | Thermometers | "Index of min. [minimum thermometer] left dry." The available reading is an interpolation.
December 1879 | Thermometer screen | Marriott (1880) provides references on the Stevenson screen and verified thermometers at the second order station by this date. However, the station photographs in the late 19th century and early 20th century show a different type of thermometer screen (see station photographs in Birr Castle telegraphic reporting station_metadata file).
January 1880 | Observer | Note: "Observations at 9 p.m. taken by G. Keating Esq., since September (inclusive) and will continue so."
February 1880 | Observer | G. Keating (9 p.m. readings).
March - 24 November 1880 | Observer | William Harding.
29 April 1880 | Thermometers; observations | "Index of min. ther. [minimum thermometer] left dry." The available reading is an interpolation.
June 1880 | Observations | "Observations on 29th at 9 p.m. unavoidably omitted.
| Thermometers; observations | "On 4th, 19th, 30th, index of min. ther. [minimum thermometer] left dry."
August 1880 | Thermometers; observations | No minimum thermometer readings on the 5th, 6th and 22nd as the "index left dry". The available readings are from D.W.R. [Daily Weather Report]
September 1880 | Thermometers; observations | No minimum thermometer readings on the 5th, 6th, 8th, 10th and 25th as the "index left dry". The available readings are "from D.W.R. [Daily Weather Report]."
17 November 1880 | Observations | "Observations unavoidably omitted." The records available were interpolated.
25 November - December 1880 | Observer | Dr. Boeddicker. "9 p.m. observations taken by Dr. Boeddicker from 25th inclusive."
24 December 1880 | Observations | "Min. slightly higher than dry (9 p.m.)". Correction was applied on the daily minimum air temperature.
January - February 1881 | Observer | William Harding.
January 1881 | Observations | Extra remarks: "Red ink corrections are allowed by the observer."
28 February 1881 | Observation time | Observations taken at 9:30 p.m.
March 1881 - February 1884 | Observer | George Phillips.
3 March 1881 | Observations | "Reading not taken of temp. max & min. 9 p.m." The available values are "probable readings."
14 – 15 March 1881 | Observation time | Readings taken at 9.15 p.m.
10 April 1881 | Observations | The minimum air temperature reading was not taken. The available value is result of an interpolation.
27 May 1881 | Observations | The minimum air temperature reading was "not read."
4 June 1881 | Thermometers | Minimum thermometer "not in order". The available value is "from D.W.R. [Daily Weather Report]"
27 June 1881 | Observations | "Observations unavoidably omitted." The records available were interpolated.
19 September 1881 | Observations | "Omitted by Dr. Boeddicker who takes 9 p.m. readings." The available records are interpolated.
October 1881 | Thermometers; observations | Minimum thermometer out of order on 1st and 25th. Nevertheless, minimum air temperature records are available.
29 November 1881 | Observation time | Readings taken at 10 p.m.
28 January 1882 | Thermometers | Minimum thermometer as 32: "out of order?" The available reading (36) is an estimared value.
17 - 19 May 1882 | Observations | Note on minimum air temperature. "Read at 8 a.m. for D.W.R. [Daily Weather Report] the other therm. apparently out of order."
15 - 16 July 1882 | Thermometers; observations | "Minimum thermometer out of order." Available values "from D.W.R. [Daily Weather Report]."
2 August 1882 | Thermometers; observations | "Minimum thermometer out of order." Available record as a "probable" reading.
2 September 1882 | Thermometers; observations | "Minimum thermometer out of order." Available record as a "probable" reading.
1 October 1882 | Thermometers | "Probable reading. min. [minimum thermometer] out of order."
6 October 1882 | Inspection of station | “This station was satisfactory” Meteorological Council (1884: 51).
25 January 1883 | Thermometers; observations | "Min [minimum thermometer] out of order. Probable reading."
18 March 1883 | Observation time | "Readings taken at 9.20 p.m."
9 May 1883 | Observation time | "Readings taken at 8.30 p.m."
1884 | Inspection of station; thermometers | Thermometer comparisons to the Inspector's Standard no. 3349 which was corrected for instrumental errors: maximum thermometer -0.2o; minimum thermometer +0.4o. Meteorological Council (1886: 50).
March 1884 | Observer | Benjamin Budds.
April 1884 - January 1885 | Observer | George Phillips.
January 1885 – April 1911 | Thermometers | Height of thermometers above the ground: 4ft. and 6 inch (Meteorological Office, 1889, 1890, 1891, 1892, 1893, 1894, 1895, 1896, 1897a,b, 1899a,b, 1900, 1901a, 1902a, 1905a, 1906a, 1907, 1908a,b, 1909a,b,c,d, 1910, 1911a, 1912).
February 1885 - October 1886 | Observer | Benjamin Budds.
2 October 1885 | Inspection of station | “There is a new assistant observer, W. Harding, junior.” (Meteorological Council, 1887: 46).
15 February 1886 | Observation time | Readings take at 8:30 p.m.
16 February 1886 | Observation time | Readings taken at 11 p.m.
22 September 1886 | Observation time | Readings take at 8:30 p.m.
30 September 1886 | Inspection of station; thermometers | “This station was satisfactory, as usual.” (Meteorological Council, 1888a: 51). Corrections to be applied to the readings of: maximum thermometer -0.4o; minimum thermometer 0.0o. Meteorological Council (1888a: 52).
November 1886 | Observer | William Harding
1 November 1886 | Observations | Maximum and minimum air temperature values: probable values.
December 1886 - July 1887 | Observer | Benjamin Budds.
12 March 1887 | Observation time | "P.M. readings taken at 10 p.m."
18 March 1887 | Observation time | "P.M. readings taken at 10 p.m."
23 June 1887 | Observation time | "P.M. readings taken at 7:30 p.m."
August 1887 - 15 May 1888 | Observer | Otto Boeddicker.
July 1887 | Thermometers | Minimum thermometer M.O 8.
Maximum thermometer M.O 85.
August 1887 | Thermometers | Height of maximum thermometer bulb above ground: 4.6 feet.
Height of minimum thermometer bulb above ground: 4.9 feet.
19 September 1887 | Inspection of station; observer; thermometers | “There is a change of observers at this station, and for the present Dr. Boeddicker is taking the observations. The regular observer has not yet been appointed.” (Meteorological Council, 1888b: 65). Corrections to be applied to the readings of: maximum thermometer -0.3o; minimum thermometer 0.0o. Meteorological Council (1888b: 65).
October 1887 | Observations | "Corrections for dry, wet B., and max & min thermometers received too late for application this month."
26 October 1887 | Observer | "9 p.m. readings on the 26th taken by W. Harding."
November 1887 | Observations | "Dry and wet bulb and maximum and minimum thermometers are corrected for index error. Minimum on grass is incorrect, which probably explains the reading being higher than the air minimum on the 14th."
1888 | Inspection of station; thermometers | Corrections to be applied to the readings of: maximum thermometer -0.6o; minimum thermometer -0.2o. Meteorological Council (1890a: 45).
16 May - 14 June 1888 | Observer | Observer: Whelan. "The observations from the 16th to the end of month were taken by Whelan alone during my absence." "The readings up to the 14th were taken during my absence by Whelan alone."
15 June 1888 - March 1890 | Observer | Otto Boeddicker.
28 August 1889 | Inspection of station; observer; thermometers | “The observer, Sergeant Whelan, is falling in health.” (Meteorological Council, 1890b: 72). Corrections to be applied to the readings of: maximum thermometer -0.8o; minimum thermometer -0.3o. Meteorological Council (1890b: 73).
April 1890 - February 1892 | Observer | E. Haines. Same handwriting, although there is no mention of the observer’s name in February 1892.
16 October 1890 | Inspection of station; observer; thermometers | “At this station a new observer takes the 9 p.m. readings. His name is White, and he has had previous training, so that the work is well done.” (Meteorological Council, 1892: 39). Corrections to be applied to the readings of: maximum thermometer -0.4o; minimum thermometer 0.0o. Meteorological Council (1892: 39).
4 August 1891 | Inspection of station; observer; thermometers | “There is a new observer, Perry, a national school teacher. He seems to be efficient; he has only begun work.” (Meteorological Council, 1893a: 39). Corrections to be applied to the readings of: maximum thermometer -0.5o; minimum thermometer +0.3o. Meteorological Council (1893a: 41).
4 October 1892 | Inspection of station; thermometers | “The observer here had been changed, and the present reporter is named William James Perry. He is a National school teacher, well educated, and careful. His absence from the observatory during school hours is a serious inconvenience, but I cannot see how this can be obviated.” (Meteorological Council, 1893b: 46).
Corrections to be applied to the readings of: maximum thermometer -0.6o; minimum thermometer +0.2o. Meteorological Council (1893b: 48).
March - June 1892 | Observer | E. Haines and James Perry.
July 1892 - July 1893 | Observer | William James Perry.
22 August 1893 | Inspection of station; thermometers | “At this station the observer had recently enlisted, and his brother aged 14 had taken the duty, but of course is as yet inexperienced.” (Meteorological Council, 1895a: 33).
Corrections to be applied to the readings of: maximum thermometer -0.3o; minimum thermometer +0.1o. Meteorological Council (1895: 35).
August 1893 - April 1894 | Observer | John Perry.
May - June 1894 | Observer | John Perry & Haines.
July - September 1894 | Observer | John Perry.
October 1894 | Observer | J. Haines.
November 1894 - August 1898 | Observer | Robert Jacob.
1895 | Inspection of station; thermometers | Corrections to be applied to the readings of: maximum thermometer +0.2o; minimum thermometer +0.3o. Meteorological Council (1896: 45).
September - December 1898 | Observer | Thomas A. Colvin.
1899 | Inspection of station; thermometers | Corrections to be applied to the readings of: maximum thermometer 0.0o; minimum thermometer +0.1o. Meteorological Council (1900: 75).
January 1899 - February 1900 | Observer | J. Spooner.
1900 | Inspection of station; thermometers | Corrections to be applied to the readings of: maximum thermometer +0.1o; minimum thermometer -0.2o. Meteorological Council (1901: 112).
March 1900 - August 1901 | Observer | John L. Roe.
26 August 1901 | Inspection of station; observation time; thermometers; thermometer screen | Last inspected in 1900.
Observing time: 9:05 p.m. Dublin mean time.
No changes have been made in the position of the screen or thermometers since the last inspection.
Double screen firmly fixed over short grass.
Thermometers:
Thermometers are clean and in good order.
Corrections applied to the thermometer readings before being entered on the sheet: maximum (-0.3°F), minimum (-0.2°F).
Maximum thermometer no. M.O. 1643. Correction deduced from comparison with the Inspector’s thermometer: -0.2°F.
Minimum thermometer no. M.O. 8. Correction deduced from comparison with the Inspector’s thermometer: 0.0°F.
(Meteorological Office, 1901b).
September 1901 - July 1903 | Observer | George A. Roe.
14 September 1902 | Inspection of station; thermometers; observer | Last inspected in 1901
No changes have been made in the position of the screen or thermometers since the last inspection.
Thermometers
Thermometers are clean and in good order.
Corrections applied to the thermometer readings before being entered on the sheet: maximum (-0.3°F), minimum (-0.2°F).
Screen firmly fixed over short grass.
“Care is said to be taken” so that the maximum thermometer is never below and the minimum thermometer never above the readings of dry-bulb thermometer over same interval of time (Meteorological Office, 1902b: 2).
Maximum thermometer no. 1643. Observer’s reading: 58.2°F. Inspector’s reading: 58.2°F.
Minimum thermometer no. 8. Observer’s reading: 58.1°F. Inspector’s reading: 58.1°F.
Inspector’s standard no. 756.
Observations are taken by Mr. J. Roe in Observer’s absence. (Meteorological Office, 1902b).
August 1903 - November 1904 | Observer | Wellesly J. Roe.
14 September 1903 | Inspection of station; thermometer screen; thermometers | Last inspected in 1902.
No changes have been made in the position of the screen or thermometers since the last inspection.
Exposure: “A small observatory was erected about a week ago 4 feet from screen. Screen to be moved.” (Meteorological office, 1903: 1).
Screen firmly fixed over short grass.
Thermometers:
Thermometers are clean and in good order.
Corrections applied to the thermometer readings before being entered on the sheet: maximum (-0.3°F), minimum (-0.2°F).
Maximum thermometer no. 85. Observer’s reading: 57.3°F. Inspector’s reading: 57.3°F.
Minimum thermometer no. 8. Observer’s reading: 57.3°F. Inspector’s reading: 57.2°F.
Inspector’s standard no. 6442.
“Care is said to be taken” so that the maximum thermometer is never below and the minimum thermometer never above the readings of dry-bulb thermometer over same interval of time (Meteorological Office, 1903: 2).
“On May 22nd max. temp. [maximum air temperature] was entered 54.2° instead of 64.2°. […] On June 3rd max. temp. [maximum air temperature] is given 72.2°, which seem 10° too high. The telegraphic report was 62°.” (Meteorological Office, 1903: 4).
December 1904 - 12 September 1906 | Observer | Joseph Henry Skerritt.
30 August 1905 | Inspection of station; thermometer screen; thermometers; observer | Last inspected in 1903.
Observer: Mr. J. H. Skerritt.
No changes have been made in the position of the screen or thermometers since the last inspection.
Thermometer screen painted white firmly fixed over short grass.
Thermometers:
Thermometers are clean and in good order.
No corrections are applied on the maximum or minimum thermometer readings before being entered on the sheet.
Observer reads and sets the thermometers correctly.
Care is taken so that the maximum thermometer is never below and the minimum thermometer never above the readings of dry-bulb thermometer over same interval of time.
Notes for the use of the Inspector: “There is a new observer here. Please go over the details of the work carefully with him” (Meteorological Office, 1905b: 4).
Observer: “Mr. Skerritt is a youth about 18 years of age. Dr Boeddicker is really responsible for the station. He expressed himself well satisfied with the punctuality of Mr. Skerritt and with the progress he has made as an observer” (Meteorological Office, 1905: 4). “The instruments were all in satisfactory condition. The new observer, Mr. J. H. Skerritt, took readings of the various instruments in my presence and appeared to understand their use and manipulation” (Meteorological Office, 1905b: 5).
Site (good), outfit (very good), exposure (excellent), observer (good), deputy observer (excellent), station as a whole (very good).
8 August 1906 | Inspection of station; thermometers | Thermometers:
Maximum thermometer no. M.O. 1643 (65.9°F).
Minimum thermometer no. M.O. 8 (65.9°F).
Inspector’s standard no. 6756.
(Meteorological Office, 1906b).
September 1906 | Thermometers | Maximum thermometer no.1643 M.O
Minimum thermometer no. 8 M.O.
Height of maximum thermometer bulb above ground: 4.7 feet.
Height of minimum thermometer bulb above ground: 5.1 feet.
13 September 1906 | Observer; observation time | Otto Boeddicker (9 a.m.).
October 1906 | Observer | Otto Boeddicker and John Hill.
November 1906 - February 1911 | Observer | John Hill.
22 July 1909 | Inspection of station; observer; thermometers | Observer: John Hill
Standard of time: Dublin Mean Time.
Thermometers
Maximum thermometer no. M.O. 1643. Correction now applied: -0.3°F. Correction deduced from comparison with Inspector’s thermometer: -0.4°F.
Minimum thermometer no. 8. Correction now applied: -0.2°F. Correction deduced from comparison with Inspector’s thermometer: -0.3°F. (Meteorological Office, 1909e).
1910 | Station history | "This station was formerly called Parsonstown. There has been no change of site" Meteorological Office (1911a: iv).
March 1911 | Observer | Otto Boeddicker.
| Data-sources | Last traceable handwritten meteorological registers filled at climatological station (Keane et al., 2017).
29 July 1911 | Inspection of station; thermometers | Thermometers:
Maximum thermometer no 1643. Correction deduced: +0.1°F.
Minimum thermometer no 8. Correction deduced: 0.0°F.
Inspector’s thermometer defective. Results of comparisons with dry bulb thermometer no. 8089.
(Meteorological Office, 1911b).
References
Keane, A.; Lonergan, T. and Treanor, M. 2017. Meteorological observations in Ireland 1855-1976: an archival Finding Aid. Historical Note No. 6. Met Éireann, 39p. http://hdl.handle.net/2262/74613 (Last accessed on 8/01/2019).
Marriott, W. 1880. On the frost of December, 1879, over the British Isles. Quarterly Journal of the Royal Meteorological Society, 6(34): 102-114. https://doi.org/10.1002/qj.4970063412
Meteorological Council. 1884. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1883. London: Her Majesty’s Stationery Office.
Meteorological Council. 1886. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1885. London: Her Majesty’s Stationery Office.
Meteorological Council. 1887. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1886. London: Her Majesty’s Stationery Office.
Meteorological Council. 1888a. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1887. London: Her Majesty’s Stationery Office.
Meteorological Council. 1888b. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1888. London: Her Majesty’s Stationery Office.
Meteorological Council. 1890a. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1889. London: Her Majesty’s Stationery Office.
Meteorological Council. 1890b. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1890. London: Her Majesty’s Stationery Office.
Meteorological Council. 1892. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1891. London: Her Majesty’s Stationery Office.
Meteorological Council. 1893a. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1892. London: Her Majesty’s Stationery Office.
Meteorological Council. 1893b. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1893. London: Her Majesty’s Stationery Office.
Meteorological Council. 1895a. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1894; submitted to the President and Council of the Royal Society. London: Her Majesty’s Stationery Office.
Meteorological Council. 1896. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1896; submitted to the President and Council of the Royal Society. London: Her Majesty’s Stationery Office.
Meteorological Council. 1900. Report of the Meteorological Council, for the year ending 31st of March, 1900, to the President and Council of the Royal Society. London: Her Majesty’s Stationery Office.
Meteorological Council. 1901. Report of the Meteorological Council, for the year ending 31st of March, 1901, to the President and Council of the Royal Society. London: Her Majesty’s Stationery Office.
Meteorological Office. 1874. Quarterly Weather Report 1873. Appendix III. London: Her Majesty’s Stationery Office.
Meteorological Office. 1875. Quarterly Weather Report 1874. Appendix II. Meteorological observations at stations of the second order. London: Her Majesty’s Stationery Office.
Meteorological Office. 1885. Meteorological observations at stations of the second order for the year 1880. London: Her Majesty’s Stationery Office.
Meteorological Office. 1886. Meteorological observations at stations of the second order for the year 1881. London: Her Majesty’s Stationery Office.
Meteorological Office. 1887. Meteorological observations at stations of the second order for the year 1882. London: Her Majesty’s Stationery Office.
Meteorological Office. 1888a. Meteorological observations at stations of the second order for the year 1883. London: Her Majesty’s Stationery Office.
Meteorological Office. 1888b. Meteorological observations at stations of the second order for the year 1884. London: Her Majesty’s Stationery Office.
Meteorological Office. 1889. Meteorological observations at stations of the second order for the year 1885. London: Her Majesty’s Stationery Office.
Meteorological Office. 1890. Meteorological observations at stations of the second order for the year 1886. London: Her Majesty’s Stationery Office.
Meteorological Office. 1891. Meteorological observations at stations of the second order for the year 1887. London: Her Majesty’s Stationery Office.
Meteorological Office. 1892. Meteorological observations at stations of the second order for the year 1888. London: Her Majesty’s Stationery Office.
Meteorological Office. 1893. Meteorological observations at stations of the second order for the year 1889. London: Her Majesty’s Stationery Office.
Meteorological Office. 1894. Meteorological observations at stations of the second order for the year 1890. With frontispiece map. London: Her Majesty’s Stationery Office.
Meteorological Office. 1895. Meteorological observations at stations of the second order for the year 1891. With frontispiece map, and appendix giving results for certain stations for the 15 years 1976-1890. London: Her Majesty’s Stationery Office.
Meteorological Office. 1896. Meteorological observations at stations of the second order for the year 1892. With frontispiece map. London: Her Majesty’s Stationery Office.
Meteorological Office. 1897a. Meteorological observations at stations of the second order for the year 1893. With frontispiece map. London: Her Majesty’s Stationery Office.
Meteorological Office. 1897b. Meteorological observations at stations of the second order for the year 1894. With frontispiece map. London: Her Majesty’s Stationery Office.
Meteorological Office. 1899a. Meteorological observations at stations of the second order for the year 1895. With frontispiece map. London: Her Majesty’s Stationery Office.
Meteorological Office. 1899b. Meteorological observations at stations of the second order for the year 1896. With frontispiece map. London: Her Majesty’s Stationery Office.
Meteorological Office. 1900. Meteorological observations at stations of the second order for the year 1897. With frontispiece map. London: Her Majesty’s Stationery Office.
Meteorological Office. 1901a. Meteorological observations at stations of the second order for the year 1898. With frontispiece map. London: Her Majesty’s Stationery Office.
Meteorological Office. 1901b. Notes of inspection of Birr Castle 1901. Meteorological Office. [Unpublished handwritten inspection of station in archive at Met Éireann – not catalogued].
Meteorological Office. 1902a. Meteorological observations at stations of the second order for the year 1899. With frontispiece map. London: Her Majesty’s Stationery Office.
Meteorological Office. 1902b. Notes of inspection of Birr Castle 1902. Meteorological Office. [Unpublished handwritten inspection of station (Second Order Station) in archive at Met Éireann – not catalogued].
Meteorological Office. 1903. Notes of inspection of Birr Castle 1903. Meteorological Office. [Unpublished handwritten inspection of station in archive at Met Éireann – not catalogued].
Meteorological Office. 1905a. Meteorological observations at stations of the second order for the year 1900. With frontispiece map. London: Her Majesty’s Stationery Office.
Meteorological Office. 1905b. Notes of inspection of Birr Castle 1905. Meteorological Office. [Unpublished handwritten inspection of station in archive at Met Éireann – not catalogued].
Meteorological Office. 1906a. Meteorological observations at stations of the second order for the year 1901. With frontispiece map. London: Her Majesty’s Stationery Office.
Meteorological Office. 1906b. Notes of inspection of Birr Castle 1906. Meteorological Office. [Unpublished handwritten inspection of station in archive at Met Éireann – not catalogued].
Meteorological Office. 1907. Meteorological observations at stations of the second order for the year 1902. With frontispiece map. London: Her Majesty’s Stationery Office.
Meteorological Office. 1908a. Meteorological observations at stations of the second order for the year 1903. With frontispiece map. London: Her Majesty’s Stationery Office.
Meteorological Office. 1908b. Meteorological observations at stations of the second order for the year 1904. With frontispiece map. London: Her Majesty’s Stationery Office.
Meteorological Office. 1909a. Meteorological observations at stations of the second order for the year 1905. With frontispiece map. London: Her Majesty’s Stationery Office.
Meteorological Office. 1909b. Meteorological observations at stations of the second order for the year 1906. With frontispiece map. London: Her Majesty’s Stationery Office.
Meteorological Office. 1909c. Meteorological observations at stations of the second order and at anemograph stations for the year 1908, forming Part III. Of the British Meteorological Year-Book. London: Her Majesty’s Stationery Office.
Meteorological Office. 1909d. Meteorological observations at stations of the second order and at anemograph stations for the year 1909, forming Part III. Of the British Meteorological Year-Book. London: Her Majesty’s Stationery Office.
Meteorological Office. 1909e. Notes of inspection of Birr Castle 1909. Meteorological Office. [Unpublished handwritten inspection of station in archive at Met Éireann – not catalogued].
Meteorological Office. 1910. Meteorological observations at stations of the second order for the year 1907. With frontispiece map. London: Her Majesty’s Stationery Office.
Meteorological Office. 1911a. Meteorological observations at stations of the second order and at anemograph stations for the year 1910, forming Part III. Of the British Meteorological Year-Book. London: Her Majesty’s Stationery Office.
Meteorological Office. 1911b. Notes of inspection of Birr, July 29th, 1911. Meteorological Office. [Unpublished handwritten inspection of station in archive at Met Éireann – not catalogued].
Meteorological Office. 1912. Daily readings at stations of the first and second orders for the year 1911, forming part III., Section I., of the British Meteorological and Magnetic Year-Book. London: Her Majesty’s Stationery Office.
Data-sources
Met Éireann. Meteorological observations for Birr Castle, Parsonstown, Co. Offaly. Manuscripts MÉ/MO/2/1 and MÉ/MO/2/2.