## Metadata
Rescued station metadata from meteorological manuscripts and other cited sources
Date | Metadata | Description
1871 - 1937 | Data-sources | Manuscripts. Met Éireann. Meteorological observations for 40 Fitzwilliam Square West, Dublin 2. MÉ/MO/4.
1869 - 1870. Traceable handwritten meteorological records extend back to 1869 (gaps in the period July – December 1869). However, there was in use, a peculiar form of meteorological return on which were recorded the daily meteorological measurements under specific letters which represent specific climate elements. Despite the existence of early instrumental records, there is no legend to determine which climate elements were observed. Minimum air temperature values were registered under the weather remarks. However, the readings are not available for each day and there is no mention on the observing time. Thus, the values were not rescued.
| Observations | 1871 - 1911: one decimal place degrees Fahrenheit.
1912 - 1937: whole degrees Fahrenheit.
| Observer | Note in December 1869: “December 1st 1869, Dear Mr Scott, I send you the observations for the remainder of Nov. At times may be deficiencies in the 9 p.m. observations. Whenever I am unavoidably absent at the hour for recording, the instruments are read by my brother, or someone else. I have taught my sisters of using different thermometers &c”.
Sir John William Moore, volunteering, took meteorological observations at his home in Fitzwilliam Square and kept detailed and completed meteorological returns until September 1937, date of his death and end of the instrumental series. Moore, a Physician, was interested in meteorology (Moore, 1894, 1902) and in the relations between weather, mortality and types of epidemic and non-epidemic diseases (e.g. Moore, 1873). The observer has published many contributions of his meteorological observations, for instance, Moore (1869, 1879, 1886, 1888, 1906, 1908, 1909).
| Location | 40 Fitzwilliam Square, Dublin. Latitude: 53° 20' N; Longitude: 6° 15' W. Height above sea mean level: 51 feet (Moore, 1886).
| Exposure of thermometers | "The thermometer screen is in a garden overshadowed by tall houses." (Meteorological Office, 1919: 22).
1871 | Thermometers; exposure of thermometers | The meteorological instruments at this station were supplied by the Meteorological Office of the Royal Society in London and certificated by the Kew Observatory (Moore, 1886). According to the observer, the thermometers were placed “in a modified Stevenson-stand, with louvre-work [sic] sides, which faces N.N.E., and it is fixed raised mound near the southern wall of the garden” (Moore, 1886: 115).
1871 – 1874 | Observation time | Maximum and minimum thermometers in shade: 9 a.m. (Dublin time). The daily maximum and minimum air temperature records were rescued as they are entered in the manuscript. There is no note in the manuscript stating whether the maximum had been read at 9 am on the day in question or at 9am on the subsequent day.
1871 – 1880 | Thermometers | Thermometers were 4 feet above the ground (Moore, 1886).
January – November 1871 | Thermometers | Maximum and minimum shade thermometer's makers: Mason.
December 1871 | Thermometers | Maximum and minimum shade thermometer's makers: Negretti & Zambra.
December 1871 | Thermometers | Maximum Thermometer in shade Negretti & Zambra: correction (°F) at 22° (-), 32o (-0.5), 42° (-0.6), 52° (-0.6), 62° (-0.6), 72° (-0.5), 82° (-0.5), 92° (-0.3). Where and when compared: Kew, July 1871.
| Thermometers | Minimum thermometer in shade Negretti & Zambra: correction (°F) at 22° (-), 32o (+0.1), 42° (+0.2), 52° (0), 62° (0), 72° (-0.2), 82° (-), 92° (-). Where and when compared: Kew, 1870.
1875 | Observation time | Observation of maximum and minimum thermometers at 9 p.m.
1875 | Thermometers | Maximum thermometer no: 5783.
1875 | Thermometers | Minimum thermometer no: 4422 (MO 40).
December 1875 | Thermometers | Maximum and minimum thermometers corrected.
21 June 1876 | Observation time | Evening observation at 9:30 p.m.
January 1877 – December 1885 | Observations | Extra data sources, not employed for data rescue. Daily maximum and minimum air temperature observations published in the Meteorological observations at stations of the second order (Meteorological Office, 1878, 1880, 1882, 1885, 1886, 1887, 1888a,b, 1889).
25 April 1877 | Observation time | Evening observation taken at 7:30 p.m.
6 November 1877 | Observation time | Evening observation taken at 9:30 p.m.
12 April 1878 | Observation time | Evening observation taken at 8:30 p.m.
13 April 1878 | Observation time | Evening observation taken at 8:45 p.m.
12 May 1878 | Observation time | Evening observation taken at 9:20 p.m.
7 October 1878 | Observation time | Evening observation read at 9:15 p.m.
30 December 1878 | Weather remarks | Note by observer: Ice floes in river Liffey.
May 1879 | Weather remarks | “Observer remarks: - A cold May, 3° below the average of previous 13 years” (Meteorological Office. 1882: 67).
July 1879 | Weather remarks | “Observer remarks: A very inclement month, with frequent rains, high winds, overcast skies, and low temperatures” (Meteorological Office, 1882: 94).
4 September 1879 | Minimum air temperature | Minimum air temperature uncertain.
December 1879 | Thermometers exposure | References on Stevenson screen and verified thermometers in Marriott (1880).
6 April 1880 | Observation time | Evening observation taken at 8:45 p.m.
October 1880 | Weather remarks | “Observer remarks: mean temperature for this month is 5° below the average of the previous 14 Octobers.” (Meteorological Office, 1885: 166).
11 October 1880 | Inspection of station; exposure of thermometers | “Dr. Moore, the observer, sends in the fullest returns we receive from any of the Second order stations, but as his house is in the town, the exposure is not open enough.” Meteorological Council (1882a: 59).
7 November 1880 | Observation time | Evening observation taken at 8:40 p.m.
May 1881 – December 1883 | Exposure of thermometers | Height of maximum thermometer bulb above ground: 3.5 feet
May 1881 – December 1883 | Exposure of thermometers | Height of minimum thermometer bulb above ground: 4 feet.
May 1881 | Observation time. | Indication of the observing time of maximum and minimum thermometers at 9 p.m. as local time.
8 October 1881 | Inspection of station; thermometers | “Nothing to remark about this station, which is as good as a town station can be in a very confined garden.” Meteorological Council (1882a: 56). Thermometer comparisons: maximum thermometer: 0.0o; minimum thermometer: -0.2o. The minimum thermometer read lower than the Inspector's Standard. Meteorological Council (1882b: 57).
26 October 1881 | Observation time | Evening observation taken at 9:30 p.m.
18 October 1882 | Inspection of station; thermometers | “This continues to be as good a station as it is possible to have in the confined locality afforded by a town garden.” Moore (1884: 52). Errors of thermometers: maximum thermometer +1.0o; minimum thermometer +0.1o. Meteorological Council (1884: 52)
28 October 1882 | Observation time | Evening observation taken at 9:20 p.m.
1883 | Inspection of station | “This station fully maintains its character.” Meteorological Council (1885: 50).
27 September 1884 | Inspection of station; thermometers | “This station continues as satisfactory as it is possible for a town station.” Meteorological Council (1886: 49). Thermometer errors ascertained by comparison made with Inspector's Standard which is corrected for instrumental errors: maximum thermometer: -0.8o; minimum thermometer: +0.2o. Meteorological Council (1886: 50).
9 October 1885 | Inspection of station; exposure of thermometers; thermometers | “Thermometers have been placed on a mound 5 feet high, which raises them nearly on a level with the top of the garden wall.” Meteorological Council (1887: 46). Thermometer errors: maximum thermometer: -0.8o; minimum thermometer: +0.2o. Meteorological Council (1887: 47).
20 September 1886 | Inspection of station; thermometers | “The station remains as satisfactory for the locality.” Meteorological Council (1888a: 52). Corrections to be applied to the records of: maximum thermometer -0.5o; minimum thermometer: 0.0o. Meteorological Council (1888a: 52).
25 August 1887 | Inspection of station; thermometers | “This station is, as usual, in as good condition as is possible in the locality.” Meteorological Council (1888b: 65). Corrections to be applied to the records of: maximum thermometer -0.6o; minimum thermometer -0.1o. Meteorological Council (1888b: 65).
23 October 1888 | Inspection of station; exposure of thermometers; thermometers | “This station calls for no special remark. It continues to be the most satisfactory station we have, except as regards the exposure of thermometers and rain gauge.” Meteorological Council (1890a: 45). Corrections to be applied to the records of: maximum thermometer -0.1o; minimum thermometer -0.2o. Meteorological Council (1890a: 45).
29 August 1889 | Inspection of station; thermometers | “The station continues in excellent order.” Meteorological Council (1890b: 72). Corrections to be applied to the records of: maximum thermometer -1.1o; minimum thermometer -0.3o. Meteorological Council (1890b: 73).
4 October 1890 | Inspection of station; thermometers | “This station calls for no remark; it is always in excellent order.” Meteorological Council (1892: 38). Corrections to be applied to the records of: maximum thermometer -0.8o; minimum thermometer 0.0o. Meteorological Council (1892: 39).
27 July 1891 | Inspection of station; exposure of thermometers; thermometers | “This station was, as usual, in perfect order. The thermometer [screen ... is] not well exposed, as the garden is very confined.” Meteorological Council (1893a: 39). Thermometer errors: maximum thermometer -1.0o; minimum thermometer 0.0o. Meteorological Council (1893a: 41).
16 September 1892 | Inspection of station; thermometers | This station “was as satisfactory as is possible in a locality so confined as that which it occupies.” Meteorological Council (1893b: 47). Corrections to be applied to the records of: maximum thermometer -0.8o; minimum thermometer 0.0o. Meteorological Council (1893b: 48).
4 August 1893 | Inspection of station; exposure of thermometers; thermometers | “This station is as usual in good order, but the shrubs in the garden interfere with air circulation.” Meteorological Council (1895a: 33). Corrections to be applied to the records of: maximum thermometer -1.0o; minimum thermometer 0.0o. Meteorological Council (1895a: 35).
21 September 1894 | Inspection of station; thermometers | “This station was, as usual, in perfect order.” Meteorological Council (1895b: 44). Corrections to be applied to the records of: maximum thermometer -1.0o; minimum thermometer +0.2o. Meteorological Council (1895b: 45).
30 September 1895 | Inspection of station; exposure of thermometers; thermometers | “This station was, as usual, in perfect order, but the exposure is insufficient.” Meteorological Council (1896: 44). Corrections to be applied to the records of: maximum thermometer -0.9o; minimum thermometer -0.1o. Meteorological Council (1896: 45).
30 September 1896 | Inspection of station | “This station was, as usual, in perfect order” (Meteorological Council, 1897: 33).
26 September 1898 | Inspection of station; exposure of thermometers; thermometers | “This station was in its usual excellent order, expect that the site is too confined.” Meteorological Council (1899: 50). Corrections for: maximum thermometer -0.8o; minimum thermometer 0.0o. Meteorological Council (1899: 51).
20 July 1901 | Inspection of station; exposure of thermometers | "This is in reality a "town" station, for the exposure is very confined. The instruments are placed in a small garden, the house on the east-south-east making an angle of 34°, and the stable on the west-north-west an angle of 31°. There are trees and shrubs in the garden, which, however, are kept cut back, so as not to make a greater angle than the surrounding buildings. The thermometer screen is placed on a mound close to the garden wall facing north-north-west "(Meteorological Council, 1902: 180). "Under the circumstances possibly the temperatures may be higher than at a corresponding station in the open country. The observations, however, are carefully and regularly made" (Meteorological Council, 1902: 180).
24 August 1901 | Inspection of station | Station of Second Order and Weekly Weather Report.
Observer: Sir J. W. Moore, M.D. “Barometer only inspected. Sir J. Moore was away […]” (Meteorological
Office, 1901a).
16 September 1901 | Inspection of station | “The barometer was the only instrument tested here” (Meteorological Office, 1901b: 4).
19 July 1907 | Inspection of station; thermometers; observer | "The instruments were in the same position as at my last visit. On comparing the thermometers it was found that the maximum had gone up 0.3°. Trees on the east and north-west required cutting back. Sir John Moore is a very keen observer, and has made the best of the limited space at his disposal" (Meteorological Council, 1908: 125-126).
25 July 1907 | Inspection of station; exposure of thermometers | “Sir John Moore was away. All the instruments were in first rate order, but the exposure is poor. I saw Mr. Moore (junior) but as Sir John had left no message for me I did not take it on myself to test the instruments.” (Meteorological Council, 1907).
12 July 1910 | Inspection of station; thermometers; exposure of thermometers | "As the brass band at the top of the stem of the maximum thermometer was broken off, I put on a new one. On comparing the thermometers it was found that the dry, wet and maximum had gone up 0.3°. I recommend that the trees round the garden be cut back as much as possible" (Meteorological Council, 1911: 263).
February 1912 | Observations | Note on meteorological return: “The readings of the thermometers should be corrected for index error before being entered in this form. New return form in use”.
| Exposure of thermometers | Height of thermometers above ground: 4 feet.
February 1912 – August 1922 | Observation time | Hours of reading and setting maximum and minimum thermometers: 9 a.m. and 9 p.m. However, it is not mentioned which one has been recorded in the return.
February 1912 – September 1916 | Observation time | Standard of time: Dunsink Observatory.
March 1912 – September 1915 | Observation time | Hours of reading and setting maximum and minimum thermometers: 9 p.m.
2 July 1913 | Inspection of station; thermometers; exposure of thermometers; observer | Second order station.
Last inspected in 1907.
Observer: Sir John William Moore.
Deputy Observer: Mrs. A.R. and Ms. Moore.
Standard of time: Irish.
Thermometers:
Maximum thermometer no. 2 - no. 5783. Corrections now applied: -0.8°F. Kew 1871: -0.6°F. From Inspector’s comparison in 1898: -0.8°F. From Inspector’s comparison in 1913: -1.5°F.
Minimum thermometer no. Mo. 40. Corrections now applied: 0.0°F. Kew 1871: 0.0. From Inspector’s comparison in 1898: 0.0°F. From Inspector’s comparison in 1913: 0.0°F.
(Meteorological Office, 1913).
Action required: “New thermometers […] max. [thermometer] seems to be necessary.” (Meteorological Office, 1913: 4).
Exposure: “Against a wall. Overshadowed by trees. ‘It represents the conditions in which Dublin people live’ (Meteorological Office, 1913: 2).
Site, outfit, exposure, observer, substitute observer, station as a whole: “Excellent in this own way.” (Meteorological Office, 1913: 4).
20 August 1913 | Observation time | Evening observation taken at 10 p.m.
25 August 1913 | Observation time | Evening observation taken at 10:10 p.m.
28 August 1913 | Observation time | Evening observation taken at 10:10 p.m.
30 August 1913 | Observation time | Evening observation taken at 10:15 p.m.
April 1915 | Observations | Notes on filling up the register. Note on temperature in the meteorological return to the observers: "(a). When the maximum and minimum thermometers are read and set in the morning, the reading of the maximum thermometer must be entered to the previous day, that of the minimum to the day of reading. (b). When the maximum and minimum thermometers are read and set at 9 p.m., both readings must be entered to the day of reading."
6 August 1915 | Observation time | Evening observation taken at 10:30 p.m.
October 1915 | Observation time | Maximum and minimum thermometers read at 9 a.m. and 9 p.m. and setting at 9 p.m. However, there is only one observation available per day without mention on the observing time.
9 September 1916 | Inspection of station; thermometers; exposure of thermometers | Second order station.
Last inspected in 1913.
Observer: Sir John William Moore.
Deputy observer: “Sir J. Moore’s son, daughter, or a maid” (Meteorological Office, 1916: 1).
Standard of time: Dublin mean time.
Thermometers:
Maximum thermometer no. 5783. Correction now applied: -1.0°F. Correction deduced from comparison with the Inspector’s standard no. 1394: -1.3°F.
Minimum thermometer no. Mo. 40. Correction now applied: -. Correction deduced from comparison with the Inspector’s standard no. 1394: 0.0°F.
“The corrections for […] 5783 & 40 were supplied after last inspection.” (Meteorological Office, 1916: 2).
Exposure: “The screen is placed NE of a wall about 7 ft. high. Earth & plants below screen which has no bottom to it. The exposure is the same as it has always been & is a good as can well be managed in so small […] garden” (Meteorological Office, 1916: 2).
Condition of the instruments and screen: “Quite satisfactory of the thermometers.” (Meteorological Office, 1916: 2).
October 1916 – September 1937 | Observation time | Standard of Time: Greenwich.
1920 | Observation time | Note in the meteorological return on maximum and minimum air temperature records: "Normal Climatological Stations. - Set and read at 21h."
1922 – February 1925 | Observations | Note in the meteorological return on temperature: "It is desirable that the readings of the thermometers should be corrected for instrumental errors before being entered in this form."
| Observation time | Note in the meteorological return on temperature: "maximum and minimum thermometers should be set and read at 21h."
September 1922 – September 1937 | Observation time | Maximum and minimum thermometers set at 9 a.m. & 9 p.m. and read at 9 a.m. and 9 p.m. despite the indication in the meteorological return that "maximum and minimum thermometers should be set and read at 21h". However, there is only one observation available in the meteorological return. According to the Irish Meteorological Service (1951) the hour of reading is 21h G.M.T.
March 1925 – September 1937 | Observations | Notes on filling up the register: "Maximum and minimum thermometers should be read and set at 21h and entered in this register to the day of reading. (If the hours of observations are 9h and 15h these thermometers should be read and set at 9h. In this case the maximum reading is entered in this register to the day preceding that of reading, and the minimum to the day of reading."
18 December 1934 | Observation time | Evening observation taken at 10:30 p.m.
September 1937 | Observer | Dead of Sir John William Moore and end of the meteorological observations.
References
Irish Meteorological Service. 1951. Mean and extreme values of air temperature for stations in Ireland 1921-1950. Department of Transport and Power. Meteorological Service. http://hdl.handle.net/2262/76871 (Last accessed on 09/01/2019).
Marriott, W. 1880. On the frost of December, 1879, over the British Isles. Quarterly Journal of the Royal Meteorological Society, 6(34): 102-114. https://doi.org/10.1002/qj.4970063412
Meteorological Council. 1882a. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1881. London: Her Majesty's Stationery Office.
Meteorological Council. 1882b. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1882. London: Her Majesty's Stationery Office.
Meteorological Council. 1884. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1883. London: Her Majesty's Stationery Office.
Meteorological Council. 1885. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1884. London: Her Majesty's Stationery Office.
Meteorological Council. 1886. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1885. London: Her Majesty's Stationery Office.
Meteorological Council. 1887. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1886. London: Her Majesty's Stationery Office.
Meteorological Council. 1888a. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1887. London: Her Majesty's Stationery Office.
Meteorological Council. 1888b. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1888. London: Her Majesty's Stationery Office.
Meteorological Council. 1890a. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1889. London: Her Majesty's Stationery Office.
Meteorological Council. 1890b. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1890. London: Her Majesty's Stationery Office.
Meteorological Council. 1892. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1891. London: Her Majesty's Stationery Office.
Meteorological Council. 1893a. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1892. London: Her Majesty's Stationery Office.
Meteorological Council. 1893b. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1893. London: Her Majesty's Stationery Office.
Meteorological Council. 1895a. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1894; submitted to the President and Council of the Royal Society. London: Her Majesty's Stationery Office.
Meteorological Council. 1895b. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1895; submitted to the President and Council of the Royal Society. London: Her Majesty's Stationery Office.
Meteorological Council. 1896. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1896; submitted to the President and Council of the Royal Society. London: Her Majesty's Stationery Office.
Meteorological Council. 1897. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1897; submitted to the President and Council of the Royal Society. London: Her Majesty's Stationery Office.
Meteorological Council. 1899. Report of the Meteorological Council, for the year ending 31st of March, 1899, to the President and Council of the Royal Society. London: Her Majesty's Stationery Office.
Meteorological Council. 1902. Report of the Council – Appendix II. Inspection of stations, 1901. Quarterly Journal of the Royal Meteorological Society, 28(123): 178 – 184. https://doi.org/10.1002/qj.49702812310
Meteorological Council. 1908. Report of the Council. Appendix II. Inspection of stations, 1907. Quarterly Journal of the Royal Meteorological Society, 34(146): 123-129. https://doi.org/10.1002/qj.49703414607
Meteorological Council. 1911. Report of the Council. Appendix II. Inspection of stations, 1910. Quarterly Journal of the Royal Meteorological Society, 37(159): 260-267. https://doi.org/10.1002/qj.49703715908
Meteorological Office. 1877. Meteorological observations at stations of the second order for the year 1877. London: Her Majesty’s Stationery Office.
Meteorological Office. 1880. Meteorological observations at stations of the second order for the year 1878. London: Her Majesty’s Stationery Office.
Meteorological Office. 1882. Meteorological observations at stations of the second order for the year 1879. London: Her Majesty’s Stationery Office.
Meteorological Office. 1885. Meteorological observations at stations of the second order for the year 1880. London: Her Majesty’s Stationery Office.
Meteorological Office. 1886. Meteorological observations at stations of the second order for the year 1881. London: Her Majesty’s Stationery Office.
Meteorological Office. 1887. Meteorological observations at stations of the second order for the year 1882. London: Her Majesty’s Stationery Office.
Meteorological Office. 1888a. Meteorological observations at stations of the second order for the year 1883. London: Her Majesty’s Stationery Office.
Meteorological Office. 1888b. Meteorological observations at stations of the second order for the year 1884. London: Her Majesty’s Stationery Office.
Meteorological Office. 1889. Meteorological observations at stations of the second order for the year 1885. London: Her Majesty’s Stationery Office.
Meteorological Office. 1901a. Note of Inspection of Dublin 1901. Meteorological Office. [Unpublished handwritten inspection of station in archive at Met Éireann – not catalogued].
Meteorological Office. 1901b. Notes of Inspection of Dublin 1901. Meteorological Office. [Unpublished handwritten inspection of station in archive at Met Éireann – not catalogued].
Meteorological Office. 1907. Dublin. Fitzwilliam Square. Meteorological Office. [Unpublished handwritten inspection of station in archive at Met Éireann – not catalogued].
Meteorological Office. 1913. Note of Inspection of Dublin, City 1913. Meteorological Office. [Unpublished handwritten inspection of station in archive at Met Éireann – not catalogued].
Meteorological Office. 1916. Note of Inspection of Dublin, City 1916. Meteorological Office. [Unpublished handwritten inspection of station in archive at Met Éireann – not catalogued].
Meteorological Office. 1919. The book of normals of meteorological elements for the British Isles for periods ending 1915. Section I. – Monthly normals for stations (1881-1915). London: His Majesty’s Stationery Office.
Moore, J. W. 1869. Notes on “mean temperature in its relation to disease and mortality”, with special reference to the city of Dublin. Dublin Quarterly Journal of Medical Science, 48(1): 107-122. https://doi.org/10.1007/BF02944430
Moore, J. W. 1873. Meteorology in its bearing on health and disease. The British Medical Journal, 1(641): 400-402.
Moore, J. W. 1879. Sanitary and meteorological notes. Dublin Journal of Medical Science, 68(1): 92-94. https://doi.org/10.1007/BF02965842
Moore, J. W. 1886. Remarks on the climate of Dublin, based upon twenty years observations. Transactions of the Academy of Medicine in Ireland, 4: 413-431. https://doi.org/10.1007/BF03173407
Moore, J. W. 1888. Climatological tables for the city of Dublin. The Dublin Journal of Medical Science, 85: 554-555. https://doi.org/10.1007/BF02975960
Moore, J. W. 1894. Meteorology practical and applied. London: F. J. Rebman.
Moore, J. W. 1902. The climate of Ireland. In Royal Medical and Chirurgical Society (Ed.) The climates and baths of Great Britain. Vol. II. The Climates of London, and of Central and Northern Portions of England, together with those of Wales and of Ireland (381 – 577). London: Royal Medical and Chirurgical Society.
Moore, J. W. 1906. The rainstorm of August 24-26, 1905, in Eastern Ireland. Quarterly Journal of the Royal Meteorological Society, 32(137): 1-10. https://doi.org/10.1002/qj.49703213701
Moore, J. W. 1908. Is our climate changing? The Dublin Journal of Medical Science, 126(4): 254 - 277. https://doi.org/10.1007/BF02969806
Moore, J. W. 1909. Sanitary and meteorological notes. The Dublin Journal of Medical Science, 128(4): 309-323. https://doi.org/10.1007/BF02969948
Treutler, W. J. 1869. Results of meteorological observations, for the week ending Saturday, May 22nd, 1869. The British Medical Journal, 1(439): 508. https://www.jstor.org/stable/25216730 (Last accessed on 6/02/2019).
Data-sources
Met Éireann. Meteorological observations for 40 Fitzwilliam Square West, Dublin 2. MÉ/MO/4.