## Metadata
Rescued station metadata from meteorological manuscripts and other cited sources
Date | Metadata | Description
1819 | Station history; observations; data-sources | Monthly meteorological abstracts which comprise the absolute thermometer highest and lowest in each month in the year 1819 by John Underwood have been published in the Proceedings of the Royal Dublin Society (Royal Dublin Society, 1820). However, there is no traceable handwritten meteorological registers or publications comprising the daily meteorological observations.
1820s – 1830s | Station history; observations; instrumentation; exposure of thermometers | Meteorological observer: John Underwood was “for the best part of the two decades [...] meticulous in ensuring the accuracy of the daily weather observations from Glasnevin” (McWilliams, 2000: para. 5). However, the meteorological observations ceased in the early 1830s until its commencement in the late 1840s (McWilliams, 2000). Additionally, according to Dixon (1953: 94) “there was a period in the 1820’s and 30’s for which no figures [meteorological observations] seem to have survived”.
Nevertheless, the Royal Dublin Society made several resolutions for keeping a meteorological register at the Botanic Gardens, such as follows:
“Resolved, […] A bill from Mr. Lynch [James Lynch, Dubliner instrument-maker] for a new barometer for the Society’s house, and for repairing one at the botanic garden” (Dublin Society, 1813: 53).
“Resolved, That a thermometer be ordered from Mr. Lynch, to be hung up in the Conversation room” (Dublin Society, 1817: 265). However, there is no indication that this room was located in the Botanic Gardens. This remark may related to a possible meteorological registers kept at the headquarters of the Royal Dublin Society.
The Royal Dublin Society (1824) contains a note about a bill to be paid to the instrument-maker James Lynch for repairing a barometer at the Botanic Gardens.
Additionally, the Royal Dublin Society (1825) comprises a note about a bill to be paid to James Lynch for providing thermometers.
“Resolved, A circular letter from Mr. Brewster having been read, respecting some meteorological observations to be made on the 15th July. Resolved, That Mr. Davy, Dr. Litton, and Mr. Lynch, be requested to make the desired observations, as far as within their power, and report to the Society.” (Royal Dublin Society, 1827: 183).
“Resolved, […] A letter from Mr. Lynch was read, in which he acquaints the Society that he has made all the observations on Tuesday last that were required by Mr. Brewster: and that, as soon as he had ascertained the latitude and longitude of the place of observation, he would report.” Royal Dublin Society (1827: 190).
James Lynch in a letter to the Royal Dublin Society dating of 31st January 1828 indicates: “Dear Sir, Please to present to the Royal Dublin Society the enclosed set of meteorological observations, made by me on the 15th of the present month, similar to those made on the 17th of July last, in order that they may be forwarded to Dr. Brewster” (Royal Dublin Society, 1828: 68).
“Resolved, [...] A Report from Mr. Lynch on some further meteorological observations made by him in obedience to the order of the Society on the 12th July, 1827, Resolved, That the same be referred to the Committee of Natural Philosophy. A Return from Mr. Lynch, pursuant to the order of the Board on the 26th July last, of machinery proper to be procured for his department, Resolved, that the same be referred to the Committee of Natural Philosophy” (Royal Dublin Society, 1828: 20).
“Ordered, that the several officers charged with the care of keeping meteorological journals be desired to report thereon to the Society forthwith: and that they be further instructed to make similar returns monthly, for the future, with a view to the publication thereof in the Minutes of the Society, such returns to be sent in, on the 1st of every month” (Royal Dublin Society, 1832a: 128). [James Lynch lectured Natural Philosophy (Royal Dublin Society, 1828) and was an instrument-maker (Morrison-Low and Burnett, J. E., 1989)].
“Ordered, That it be referred to the Committee of Natural Philosophy to report on the utility and best means of keeping a Meteorological Registry at the Society’s premises” (Royal Dublin Society, 1831: 97).
“And the Committee having considered the Society’s reference of 3rd February, respecting the utility and best means of keeping a Meteorological registry at the Society’s Premises, are of opinion that it is highly desirable to have such a Registry kept, both at the Society’s Garden at Glasnevin, and at their House in Dublin; and they strong recommend that the proposition should be carried into effect, in which they see no difficulty” (Royal Dublin Society, 1831: 132-133).
“Ordered, That the Committee of Natural Philosophy be specially summoned, and requested to carry into effect their Report of 10th March, 1831, relative to keeping a meteorological register” (Royal Dublin Society, 1832: 128).
“Mr. Underwood having sent in, agreeably to order, a meteorological Diary for the months of January and February last” (Royal Dublin Society, 1832a: 162). “Ordered, That it be referred to Committee of Natural Philosophy, with a request that they may report on Thursday next, whether this Diary be in a proper state for publication.” (Royal Dublin Society, 1832: 163).
Despite many instructions for taking meteorological observations at the Botanic Gardens, these daily registers are not traceable.
Meteorological instruments: “In reply to the reference from the Society, on the subject of a Meteorological Register, the Committee have to report, that they have minutely examined the Botanic Garden at Glasnevin, with a view to select the situation best adapted for the different instruments necessary for keeping a Meteorological Journal. The place they have selected is the unoccupied recess at the north side of the Lecture Room, where a small wooden case can be put up [...] which will enclose all the instruments, and protect them from the weather” (Royal Dublin Society, 1832: 187).
“The thermometers at present there, are required for the use of the Houses; it will, therefore, be necessary to get others, viz. Two self-registering, and one plain, [...] all these instruments they propose to enclose in the same case; so that the observations upon each instrument can be made at the same time; and they recommend Doctor Litton be directed to keep this registry.” (Royal Dublin Society, 1832: 187).
“The Committee beg to direct the attention of the Society to a report of theirs, present on the 6th April last, relative to the keeping a meteorological Register at the Botanic Garden, which seemed to be an object of very general interest; that the want of funds at that time prevented the carrying into effect the recommendation of the Committee; but, as they have reason to believe that there are at present sufficient funds applicable to this purpose, they submit that a reference should now be made to the Committee of Economy, to ascertain and report whether the sum of £30 can be placed at the disposal of this Committee” (Royal Dublin Society, 1833: 90).
Nevertheless, the handwritten registers on those meteorological observations are not traceable.
1833 - 1834 | Observations | Reference on expenditure by the Royal Dublin Society on meteorological instruments in the years 1833 and 1834 (The House of Commons, 1836).
1834 - 1958 | Data-sources | January - March 1834: Earliest traceable handwritten meteorological register kept at the Botanic Gardens comprising daily observations of the "highest" and "lowest" thermometer as well as “highest” and “lowest” barometer records, direction of wind and general weather remarks. Those observations were taken by the Gardener John Underwood under the guidance of the Royal Dublin Society.
Data-source: National Library of Ireland. Fragments of the daily weather reports from the Society’s Glasnevin Gardens Jan-March, 1834. With a letter from J. Underwood on the state of the lodge there. Manuscripts 4619.
July 1847 - April 1867: the handwritten meteorological registers kept in the period July 1847 – April 1867 are not traceable. Daily maximum and minimum observations registered at the Botanic Gardens (with gaps in the years 1850 - 1851) were continuously published since July 1847 until December 1876 in a meteorological journal issued in the appendix to The Proceedings of the Royal Dublin Society (Royal Dublin Society, 1848, 1849a,b, 1850, 1852a, 1853a, 1854a,b, 1855a,b, 1856a) and in The Journal of the Royal Dublin Society (Royal Dublin Society, 1858a, 1860, 1862a,b, 1866a,b,c,d, 1870, 1875a,b,c,d, 1878a,b,c).
August 1867 - December 1910: meteorological manuscripts available in archive at National Botanic Gardens Library in Glasnevin (not catalogued).
1911-1958: There is an overlapping of handwritten data-sources in archive at the National Botanic Gardens and at Met Éireann (Keane et al., 2017). Both manuscripts were examined and in general the readings agreed and the maximum and minimum thermometers were observed and reset at 9 p.m. Since some manual quality control (red ink corrections) have been applied by staff at Met Éireann and occasional air temperature readings are available as one decimal place degrees Fahrenheit, the data were rescued from manuscripts in archive at Met Éireann. However, when the observations were available as whole degrees Fahrenheit in the Met Éireann manuscripts and to one decimal place degrees Fahrenheit in the Botanic Garden Library manuscripts in such instances the records were rescued from the manuscripts in archive at the Botanic Gardens.
Met Éireann. Meteorological observations for Glasnevin, Dublin city centre, and Balbriggan/Ardgillan. Manuscripts MÉ/MO/17/2 - MÉ/MO/17/9.
1837 | Station history; observations | “Ordered, That the meteorological register, as kept by the Professor of Botany, be hereafter laid before the Society monthly, and printed as an Appendix to its Minutes, and that all his preceding returns be collected and printed as an appendix to the volume of this year’s Proceedings.” (Royal Dublin Society, 1837: 214).
However, those meteorological observations were not published in the Proceedings. The handwritten records are not traceable.
January 1838 | Observations | Remark on the air temperature registered in January 1838 (15°F) at the Botanic Gardens Dublin is given by the Symons (1867). The daily meteorological registers are not traceable.
July 1847 | Observations | First traceable publications on daily maximum and minimum air temperature observations which were registered in the period July – December 1847 (Royal Dublin Society, 1848a,b).
“The Committee of Botany recommend to the Society, that the weekly Meteorological returns, which are now made regularly from the Botanic garden, be printed monthly in the Appendix to the Society’s Proceedings.” (Royal Dublin Society, 1847: 58).
Self-registering thermometer observations (Royal Dublin Society, 1848b).
1848 | Height of station | Height above mean sea level: 65 feet (Royal Dublin Society, 1849a).
July 1848 - December 1849 | Observer | John Moulds, gate-keeper (Royal Dublin Society, 1849a,b, 1850).
| Observation time | No observing time is mentioned in the reading and setting of the self-registering maximum and minimum thermometers. However, observations of barometer, thermometer and rainfall registers were kept morning (9 a.m.) and evening (4 p.m.) (Royal Dublin Society, 1849a,b, 1850).
1849 | Station history | Authority: “Resolved, - That the Professors of Botany and Natural Philosophy be requested to give such direction to those individuals in the employment of the Society, who now keep the Meteorological Register, as to them may seem best adapted for securing the greatest accuracy and completeness in the Returns.” (Royal Dublin Society, 1849c: 36).
1850s | Observations | Extra data-sources not used for data rescue. Daily maximum and minimum thermometer observations were also published weekly in the 1850s in various newspapers as, for instance: General Advertiser for Dublin, and all Ireland (e.g. newspaper dating of 28th January 1854) or the Freeman’s Journal (e.g. publication of 21st September 1853).
The Royal Dublin Society (1853b: 39) instructed the need of “meteorological observations at the Botanic Garden, be made every week to the Assistant Secretary, with a view to their being communicated to the newspapers”.
1851 | Station history; observer | “Resolved, [...] the attention of the Council having been called to an item for the keeping of the Meteorological Table at the Botanic Garden” (Royal Dublin Society, 1851: 15).
Observer: “Resolved, - That the Council consider it part of the Curator’s duty to keep the Meteorological Register at the Garden in a correct and proper form, under the superintendence of the Professors of Botany and Natural Philosophy” (Royal Dublin Society, 1851: 15).
Observer: “The Committee of Botany submit to the Council a letter they have received from Professor Harvey, suggesting that the meteorological observations taken at the Garden should be made on the plan devised by the Royal Irish Academy. [...] P. M’Ardle, the Outdoor Foreman, is very competent to make the necessary observations, and willing to hold himself responsible for the strict correctness of the register” (Royal Dublin Society, 1851: 38). Guidelines by the Royal Irish Academy on taking meteorological observations were published in Royal Irish Academy (1850).
Meteorological instruments: “Resolved, - That the Committee of Botany be authorized to procure the necessary instruments for meteorological observations in the Garden” (Royal Dublin Society, 1851: 78).
1852 | Instruments | Meteorological instruments: the instruments were purchased by the Committee of Botany and provided by George Yeates (Royal Dublin Society, 1852b), a Dubliner instrument-maker (Morrison-Low and and Burnett, J. E., 1989).
1 January 1852 | Observation time | Observations taken at 9 a.m. (Royal Dublin Society, 1852a).
2 - 31 January 1852 | Observation time | Observations taken at 4 p.m. (Royal Dublin Society, 1852a).
1 - 4 February 1852 | Observation time | Observations taken at 4 p.m. (Royal Dublin Society, 1852a).
5 - 6 February 1852 | Observation time | Observations taken at 5 p.m. (Royal Dublin Society, 1852a).
7 - 13 February 1852 | Observation time | Observations taken at 4 p.m. (Royal Dublin Society, 1852a).
14 - 20 February 1852 | Observation time | Observations taken at 5 p.m. (Royal Dublin Society, 1852a).
21 February 1852 | Observation time | Observations taken at 4 p.m. (Royal Dublin Society, 1852a).
22 February 1852 | Observation time | Observations taken at 5 p.m. (Royal Dublin Society, 1852a).
23 - 24 February 1852 | Observation time | Observations taken at 4 p.m. (Royal Dublin Society, 1852a).
25 - 29 February 1852 | Observation time | Observations taken at 5 p.m. (Royal Dublin Society, 1852a).
1 - 25 March 1852 | Observation time | Observations taken at 4 p.m. (Royal Dublin Society, 1852a).
26 March 1852 | Observation time | Observations taken at 5 p.m. (Royal Dublin Society, 1852a).
27 - 31 March 1852 | Observation time | Observations taken at 4 p.m. (Royal Dublin Society, 1852a).
1 - 5 April 1852 | Observation time | Observations taken at 4 p.m. (Royal Dublin Society, 1853).
6 April - September 1852 | Observation time | Observations taken at 5 p.m. (Royal Dublin Society, 1853).
October 1852 - 5 February 1853 | Observation time | Observations taken at 4 p.m. (Royal Dublin Society, 1853, 1854a).
6 February - March 1853 | Observation time | Observations taken at 3 p.m. (Royal Dublin Society, 1854a).
May - October 1853 | Observation time | Observations taken at 4 p.m. (Royal Dublin Society, 1854a).
November - December 1853 | Observation time | Observations taken at 3 p.m. (Royal Dublin Society, 1854a).
January - October 1854 | Observation time | Observations taken at 4 p.m. (Royal Dublin Society, 1854b, 1855a).
November - December 1854 | Observation time | Observations taken at 3 p.m. (Royal Dublin Society, 1855a).
1855 - 1856 | Instruments | Reference on expenditure on meteorological instruments (Royal Dublin Society, 1856b)
January - October 1855 | Observation time | Observations taken at 4 p.m. (Royal Dublin Society, 1855b, 1856a).
November 1855 - June 1856 | Observation time | Observations taken at 3 p.m. (Royal Dublin Society, 1856, 1858).
July - September 1856 | Observation time | Observations taken at 4 p.m. (Royal Dublin Society, 1858a).
October - November 1856 | Observation time | Observations taken at 3 p.m. (Royal Dublin Society, 1858a).
December 1856 | Observation time | Observations taken at 4 p.m. (Royal Dublin Society, 1858a).
January - February 1857 | Observation time | Observations taken at 3 p.m. (Royal Dublin Society, 1858a).
March - September 1857 | Observation time | Observations taken at 4 p.m. (Royal Dublin Society, 1858a).
October - November 1857 | Observation time | Observations taken at 3 p.m. (Royal Dublin Society, 1858a).
December 1857 | Observation time | Observations taken at 4 p.m. (Royal Dublin Society, 1858a).
10 December 1857 | Inspection of station | “A Committee, consisting of Dr. Barker, Mr. S. Foot, Mr. Sanders, and the Rev. J. A. Galbraith, was appointed to examine the Meteorological Instruments at the Garden, and to suggest improvements in the mode of making the Returns” (Royal Dublin Society, 1858b: 21).
January - February 1858 | Observation time | Observations taken at 3 p.m. (Royal Dublin Society, 1860).
March - December 1858 | Observation time | Observations taken at 4 p.m. (Royal Dublin Society, 1860).
January - March 1859 | Observation time | Observations taken at 3 p.m. (Royal Dublin Society, 1860).
April 1859 - October 1860 | Observation time | Observations taken at 4 p.m. (Royal Dublin Society, 1860, 1862a).
November - December 1860 | Observation time | Observations taken at 3 p.m. (Royal Dublin Society, 1862a).
January 1861 - April 1867 | Observation time | Observations taken at 4 p.m. (Royal Dublin Society, 1862b, 1866a,b,c,d, 1870).
31 October 1866 | Observations | Daily maximum air temperature reading published as 8° F (Royal Dublin Society, 1870).
1867 - 1874 | Observations | Consistency between maximum and dry bulb thermometers: the difference between the dry bulb and the maximum air temperature readings was becoming minimal and often registering the same values (e.g. January 1868) since the year 1867. By November 1870 the dry bulb values became higher than the maximum air temperature records. Dry bulb values equal or higher than the maximum air temperature records were registered until July 1874 inclusive.
1867 – 1880 | Exposure of thermometers | Notes on the exposure of thermometers at the Botanic Gardens:
"Observations suspended during the re-erection of the instrument house" (Royal Dublin Society, 1870: xxv) in the period 1 – 10 August 1867.
13 October 1870: “Read, - A Letter from the Director of the Botanic Garden, informing the Council that the Meteorological Instrument House at the Botanic Garden had been carried away by the recent storm, and the instruments considerably damaged; but that he had taken immediate steps to have all restored” (Royal Dublin Society, 1871: 10).
A break on the recording of the dry bulb thermometer in the period of 13th October – 17th November 1870 “in consequence of the Observatory having been damaged by a storm” (Royal Dublin Society, 1875a: ix) suggests a non-standard thermometer-exposure.
Additionally, an inspection of station in the year 1880 specifies that the thermometers were located in “a large closed shed, with very little ventilation” (Meteorological Council, 1882a). This type of thermometer exposure could be similar to the large octagonal wooden thermometer shed used at Phoenix Park Dublin which was also named as ‘Observatory’ (Cameron, 1856). Large thermometer screens, kind of a ‘summer-house’, were one of the thermometer exposures in use prior the introduction of the Stevenson screen; for instance, in Marriott (1894) are given similarities between the thermometer exposures at Phoenix Park Dublin and Ilfracombe in England. No drawings or maps of the thermometer exposure prior the introduction of the Stevenson screen at Botanic Gardens are traceable. The inspection of station report in the year 1881 states the erection of a Stevenson thermometer screen (Meteorological Council, 1882b). The first created form of the Stevenson screen has been described in 1866 (Stevenson, 1866).
23 January 1867 | Inspection of station | “It was referred to the Committee of Practical Science to examine into and report upon the state of the Meteorological Instruments at the Botanic gardens, with a view to the improvement of the Instruments, and of the returns of the observations.” (Royal Dublin Society, 1867: 50).
6 February 1867 | Inspection of station | “The Committee of Practical Science reported upon the state of the Meteorological Instruments at the Botanic Garden, and recommended certain improvements, which were adopted” (Royal Dublin Society, 1867: 54).
August 1867 - July 1874 | Observation time | Observations taken at 12 p.m.
August 1867 - 1880 | Data-sources | The type of manuscript form for register of the meteorological observations at Botanic Gardens was not used at any of the other long-term stations included in the dataset.
January 1874 | Inspection of station | Meteorological Instruments: “Read, - A Report of the Science Committee on the Meteorological Instruments at the Botanic Garden, pointing out their defects and suggesting that a new set of instruments be procured, same to be verified at the Kew Observatory.” (Royal Dublin Society, 1874: 37).
“Resolved, - That the Report just read be approved; that a sum of £15 payable out of the incidental fund be placed at the disposal of the Science Committee for providing the instruments, and that the thanks of the Council be given to Dr. J. W. Moore [observer at Fitzwilliam Square Dublin] for the valuable assistance he so kindly afforded to the Committee in the examination of the instruments” (Royal Dublin Society, 1874: 37).
August 1874 - May 1880 | Observation time | Observations at 12:20 p.m.
July 1876 | Weather remarks | "Note, on July 16th the thermometer registered in the shade at 4 p.m. (in evening) 92 Fahrenheit."
1877 | Data-sources; thermometers | The meteorological observations were under the direction of the Royal Dublin Society until December 1876 inclusive, hence the last publication of the meteorological readings in the year 1876 (Royal Dublin Society, 1878c). The meteorological observations were under the authority of the Directors of the Botanic Gardens as for instance David Moore, Frederick W. Moore, J. W. Besant and T. J. Walsh.
Note on a pair of thermometers kept at Royal Dublin Society:
Thermometer - Maximum & Minimum Yeates & Son Opticians. Dublin. B 474x86; SP 307x67. Mid to late 19 C. G. White painted oak base; brackets to two metal pivots for white scale on glass back; yellow alcohol and mercury. Scales -10-120° "COLD" and 0-130° "HEAT"; three lim thermometer tube, with pear shaped bulb of alcohol on top right-hand tube; "U" of mercury in two outer tubes; alcohol only in centre; maximum and minimum markers." (Mollan, 1995: 222).
There is no indication by Mollan (1995) that the pair of thermometers provided by George Yeates & Son was used for daily observations at the Botanic Gardens. Nevertheless, the Royal Dublin Society (1852b) specifies that the meteorological instruments were supplied by the instrument-maker George Yeates. The thermometer description by Mollan (1995) suggests a Six Thermometer type (e.g. Six, 1782, 1794) which was in use at Botanic Gardens by references given in 20 June 1877. Thus, the thermometer described by Mollan (1995) was probably used in the early registers of maximum and minimum thermometer readings at Botanic Gardens.
20 June 1877 | Thermometers | Reference to a six maximum and minimum thermometer in use: "Eighty decimal six was registered at three o'clock P.M. on the 20th of June."
1880 | Inspection of station; exposure of thermometers | Station maintained in connexion with the Science and Art Department. Meteorological Council (1882a) “The thermometer exposure is far from satisfactory, as the instruments are in a large closed shed, with very little ventilation. A Stevenson’s screen is required.” (Meteorological Council, 1882a: 59).
1 January – 30 June 1880 | Observation time | Observations at 12:20 p.m.
16 May – 31 December 1880 | Observation time | Observations at 9 p.m. No reference on thermometers setting time. (Botanic Gardens Dublin_1880 CSV file). The readings at 9 p.m. in the period June – December 1880 are also available in the Botanic Gardens Dublin_1834-1958 CSV file).
1 June – 31 December 1880 | Observation time | Observations at 9 a.m. No reference on the thermometers setting time. (Botanic Gardens Dublin_1880 CSV file).
July 1880 - 22 March 1893 | Thermometers | Maximum thermometer no. 7316.
July 1880 - 18 October 1934 | Thermometers | Minimum thermometer no. 4885.
1881 | Observation time | Maximum and minimum thermometer corrected observed at 9 p.m.
| Location | 53° 23' N, 6° 16'' W.
8 October 1881 | Inspection of station; exposure of thermometers; thermometers | The “erection of the Stevenson’s screen has improved the thermometrical indications materially.” (Meteorological Council, 1882b: 56). Thermometer errors: maximum thermometer +0.6o; minimum thermometer -0.8o. Meteorological Council (1882b: 57).
November 1881 | Thermometers | Height of maximum thermometer bulb above ground: 4 feet and 4.5 inches.
| Thermometers | Height of minimum thermometer bulb above ground: 3 feet and 6 inches.
1882 - 1907 | Station height; exposure of thermometers | Station height 64 ft. a.m.s.l.; height of thermometers above the ground: 3 feet and 6 inches (Meteorological Office, 1887, 1888a,b, 1889, 1890, 1891, 1892, 1893, 1894, 1895, 1896, 1897a,b, 1899a,b, 1900, 1901a, 1902a, 1906, 1907a, 1908a,b, 1909a,b, 1910).
18 October 1882 | Inspection of station; thermometers | “The station has gradually become thoroughly satisfactory in every respect.” (Meteorological Council, 1884: 52). Thermometer errors: maximum thermometer +1.2o; minimum thermometer -0.7o. Meteorological Council (1884: 52).
1883 | Inspection of station | “This station is in very good order.” (Meteorological Council, 1885: 50).
30 September 1884 | Inspection of station; thermometers | “The observations are very well taken, and the station in good order.” (Meteorological Council, 1886: 49). Thermometer errors: maximum thermometer -0.5o; minimum thermometer +0.7o. Meteorological Council (1886: 50).
9 October 1885 | Inspection of station; exposure of thermometers; thermometers | “The station is in good order. It is proposed to move the thermometers […] a little further from the conservatory. They are very conspicuous, and are much interfered with by visitors.” (Meteorological Council, 1887: 46). Thermometer errors: maximum thermometer -0.3o; minimum thermometer +1.1o. Meteorological Council (1887: 47).
20 September 1886 | Inspection of station; thermometers | “At this station the thermometer screen [… has] been slightly moved.” Instruments “are in good order.” (Meteorological Council, 1888a: 52). Corrections to be applied to the records of: maximum thermometer -0.5o; minimum thermometer +1.3o. Meteorological Council (1888a: 52).
26 August 1887 | Inspection of station; thermometers | “I have nothing to remark about this station.” (Meteorological Council, 1888b: 65). Corrections to be applied to the records of: maximum thermometer -0.7o; minimum thermometer +1.4o. Meteorological Council (1888b: 65).
23 October 1888 | Inspection of station; thermometers | “The observations are well taken.” (Meteorological Council, 1890a: 45). Corrections to be applied to the records of: maximum thermometer -1.0o; minimum thermometer +0.3o. Meteorological Council (1890a: 45).
1889 | Observation time | Mention of 9 p.m. observation as Local Time.
29 August 1889 | Inspection of station; thermometers | Corrections to be applied to the records of: maximum thermometer -1.0o; minimum thermometer 0.0o. Meteorological Council (1890b).
4 October 1890 | Inspection of station; thermometers | “This station goes on satisfactorily. We have not had of late as much interference with the instruments by children visiting the gardens as in former years.” (Meteorological Council, 1892: 38). Corrections to be applied to the records of: maximum thermometer -0.8o; minimum thermometer 0.0o. Meteorological Council (1892: 38).
27 July 1891 | Inspection of station; observer; thermometers | “This station was, as usual, in very good order. The observer is careful.” (Meteorological Council, 1893a: 39). Corrections to be applied to the records of: maximum thermometer -0.7o; minimum thermometer +0.5o. Meteorological Council (1893a: 41).
17 September 1892 | Inspection of station; thermometers | “This station was in good order.” (Meteorological Council, 1893b: 47). Corrections to be applied to the records of: maximum thermometer -0.9o; minimum thermometer +0.2o. Meteorological Council (1893b: 48).
23 March 1893 - 6 January 1899 | Thermometers | Maximum thermometer no. 1632.
4 August 1893 | Inspection of station; thermometers | “This station calls for no remark.” (Meteorological Council, 1895a: 33). Corrections to be applied to the records of: maximum thermometer -0.1o; minimum thermometer +0.5o. Meteorological Council (1895a: 35).
21 September 1894 | Inspection of station; thermometers | “The station is in good order, but I have had to request the Superintendent to inclose [sic] with railings a space larger than present area, cases having occurred of instruments being lifted from outside and therefore of probable disturbance of thermometer indices.” (Meteorological Council, 1895b: 44). Corrections to be applied to the records of: maximum thermometer -0.3o; minimum thermometer +0.5o. Meteorological Council (1895b: 45).
1 October 1895 | Inspection of station; thermometers | “The instruments were in good order and observations well taken.” (Meteorological Council, 1896: 44). Corrections to be applied to the records of: maximum thermometer 0.0o; minimum thermometer +0.8o. Meteorological Council (1896: 45).
30 September 1896 | Inspection of station; exposure of thermometers. | “At this station the thermometer screen was not firmly fixed.” (Meteorological Council, 1897: 33).
30 September 1897 | Inspection of station; thermometers | “This station calls for no special remarks.” (Meteorological Council, 1898: 45). Corrections to be applied to the records of: maximum thermometer 0.0o; minimum thermometer +0.4o. Meteorological Council (1898: 46).
26 September 1898 | Inspection of station; thermometers | “I found the observer ill in hospital. His son took his place and appeared efficient.” (Meteorological Council, 1899: 50). Corrections to be applied to the records of: maximum thermometer -0.1o; minimum thermometer +0.1o. Meteorological Council (1899: 51).
7 January 1899 - January 1950 | Thermometers | Maximum thermometer no. 91365.
6 January 1899: "The maximum thermometer was out of order on the 6th. The reading given for that date is the mean of the Phoenix Park and Fitzwilliam Square reading. A new certified instrument from Negretti & Zambra was put in use on the 7th."
However, the maximum thermometer number has been written as 71365 through most of the monthly sheets. References to maximum thermometer no. 91365 in the handwritten registers since 1928.
28 September 1899 | Inspection of station; thermometers | “This station was in good order. The observer, Pope, will be superannuated at the end of the month. I did not see his successor.” (Meteorological Council, 1900: 74). Corrections to be applied to the records of: maximum thermometer 0.0o; minimum thermometer 0.1o. Meteorological Council (1900: 75).
November 1900 - March 1912 | Thermometers | Height of maximum thermometer bulb above ground: 5 feet and 2 inches.
Height of minimum thermometer bulb above ground: 4.7 feet and 0.5 inches.
16 September 1901 | Inspection of station; observation time; thermometers; observer | Station of second order.
Last inspected in 1900.
Observer: F. W. Moore, Esq.
The thermometers are clean and in good order.
Observing time: 9 p.m. Standard of time: Dublin mean time.
Thermometers: Maximum thermometer no. 91365. Minimum thermometer no. 4885.
(Meteorological Office, 1901b).
“W. M’Ardle takes W. Moore’s place in his absence, and always fills all the returns, etc.” (Meteorological Office, 1901b: 3).
10 September 1902 | Inspection of station; observer; thermometers | Last inspected in 1901.
Observer: F. W. Moore, Esq.
(Meteorological Office, 1902).
Thermometers:
The thermometers are clean and in good order.
(Meteorological Office, 1902b).
Maximum thermometer no. 91365. Correction deduced from the Inspector’s standard no. 756: 0.0°F.
Minimum thermometer no. 4885. Correction deduced from the Inspector’s standard no. 756: +0.2°F.
(Meteorological Office, 1902b, 1904).
1 December 1903 | Location | Re-location: "On the 1st thermometers were moved 140 yards South East."
16 September 1904 | Inspection of station; thermometers; exposure of thermometers; location | Last inspected in 1902.
Observer: F. W. Moore, Esq.
Thermometers:
Thermometers clean and in good order.
Maximum thermometer no. 91365. Correction deduced from the Inspector’s standard: -0.1°F.
Minimum thermometer no. 4885. Correction deduced from the Inspector’s standard: +0.6°F.
Corrections applied on thermometer readings before being entered on the sheet - Maximum: 52°F (-0.1); 62°F (-0.2); 72°F (-0.1), 82°F (-0.2); - Minimum: 62°F (-0.1).
(Meteorological Office, 1904).
There is no change in the position of the instruments since the last inspection “but have suggested change in position of max. [maximum thermometer]” (Meteorological Office, 1904: 1).
“Care is said to be taken” so that the maximum thermometer is never below and the minimum thermometer is never above the readings of dry-bulb thermometer over the same interval of time (Meteorological Office, 1904: 2).
Thermometer screen: “Left on screen, no paint.” (Meteorological Office, 1904: 1).
“The new site for therm. [thermometer screen], […] is excellent. A triangular area, on new ground immediately to the south of the Gardens fair open, well removed from buildings, trees & shrubs is fenced in with barbed wire. I found the screen absolutely bare to the wood. The max. ther. [maximum thermometer] hung too high above the other therm. [thermometer] bulbs & I asked observer to fix it just over the min. therm. […] W. Moore is going to have the screen painted” (Meteorological Office, 1904: 4).
“The thermometer screen […] formerly in somewhat too close proximity to trees and shrubs, and liable to interference by visitors, [is] now situated outside the Botanic Gardens proper on new grounds adjoining the gardens, and immediately to the south of them. A large triangular area, far removed from buildings, trees and shrubs, is fenced in with barbed wire. The arrangement is admirable, and the site excellent. The screen is in good repair, but needs paint. All the instruments are in good order, except the barometer. Both the observer and his assistant are experienced in the work, and are thoroughly efficient.” (Meteorological Council, 1906: 140).
26 July 1907 | Inspection of station; thermometers | Observer: F. W. Moore, Esq.
Thermometers:
Maximum and minimum thermometers read and set at 9 p.m.
The Observer reads and sets the thermometers correctly.
Maximum thermometer no. 91365. Correction deduced from the Inspector’s standard: -0.3°F.
Minimum thermometer no. 4885. Correction deduced from the Inspector’s standard: 0.0°F.
(Meteorological Office, 1907b).
“The max. [maximum thermometer] hides part of the scale of the dry & wet, but as this arrangement had been previously made by another Inspector, I did not alter it. Observer reads max. [maximum thermometer] before disturbing it.” (Meteorological Office, 1907b: 2).
January - July 1911 | Observer | Patrick Pope. Signed as F. Moore.
August - September 1911 | Observer | Patrick Pope. Signed as C. Ball.
October 1911 - December 1914 | Observer | Patrick Pope for Sir F. W. Moore.
April 1912 | Observation time | Mention of hour of reading and setting of maximum and minimum thermometers at 9 p.m.
April 1912 - September 1913 | Thermometers | Height of thermometers above ground: 5 feet and 2 inches.
4 July 1913 | Inspection of station; thermometers; exposure of thermometers; observer | Last inspected in 1907.
Observer: F. W. Moore.
Thermometers:
Maximum thermometer no. 91365. Correction now applied: -0.1°F. Correction deduced from the Inspector’s standard no. 178: -0.4°F.
Minimum thermometer no. 4885. Correction now applied: 0.0°F. Correction deduced from the Inspector’s standard no. 178: +0.3°F.
Site (excellent), outfit (excellent), exposure (excellent), observer (excellent), substitute observer (excellent), station as a whole (good).
(Meteorological Office, 1913).
Conditions of screen: “Screen should be painted & louvres repaired” (Meteorological Office, 1913: 2).
“The observers are intelligent and keen. The clerk understands the use of tables of corrections.” (Meteorological Office, 1913: 4).
January - June 1915 | Observer | Sir F. W. Moore.
July 1915 | Observer | David M'Ardle for Sir F. W. Moore.
August 1915 - May 1916 | Observer | Sir F. W. Moore.
May 1916 | Observation time | "The instruments were read at 10 A.M. and 10 P.M. by the clock. F. W Moore."
June 1916 | Observer | David M'Ardle for Sir F. W. Moore.
July 1916 - September 1919 | Observer | Sir F. W. Moore.
12 September 1916 | Inspection of station; observer; thermometers; exposure of thermometers | Last inspected in 1913.
Second order station.
Observer: F. W. Moore.
Standard of time: Dublin mean Time.
Thermometers:
Maximum and minimum thermometers read and set at 9 p.m.
Maximum thermometer no. 91365. Correction deduced from the Inspector’s standard no. 1394: -0.4°F.
Minimum thermometer no. 4885. Correction deduced from the Inspector’s standard no. 1394: +0.1°F.
Deputy observer: “Two men working in the botanic garden take the work in turns” (Meteorological Office, 1916: 1).
Exposure: “quite satisfactory in every way” (Meteorological Office, 1916: 2).
Condition of the instruments and screen: “Screen needs painting, or at least washing. I mentioned this point. The instruments are good (except grass min) but the max. has to be moved to read the dry & wet. I arranged with the observer that the thermometers should be moved to slightly different position in the screen to remedy this” (Meteorological Office, 1916: 2).
Corrections now applied (max, -0.2°F), (min, -0.1°F). “Corrections are used for the thermometers […]. They do not seem to be very applicable now & as they are not constant all up the scale they most involve a good deal of work” (Meteorological Office, 1916: 2).
“The work at this station is on the whole carefully done.” (Meteorological Office, 1916: 3).
Site (excellent), outfit (very good), exposure (very good), observer no.1 (good), observer no.2 (“have no reason to think he is unsatisfactory), station as a whole (very good) (Meteorological Office, 1916: 3).
13 September 1917 | Inspection of station; observer; thermometers; exposure of thermometers | Last inspected in 1916.
Second order station.
Observer: F. W. Moore.
Thermometers:
Maximum thermometer no. 91365. Correction now applied: -0.4°F. Correction deduced from the Inspector’s standard no. 13578: -0.3°F.
Minimum thermometer no. 4885. Correction now applied: +0.2°F. Correction deduced from the Inspector’s standard no. 13578: +0.1°F.
Observing time: 9 p.m.
(Meteorological Office, 1917).
Deputy observer: “The work is shared by two of the garden hands” (Meteorological Office, 1917: 1).
Standard of time: “Greenwich mean time or summer mean time according to the season.” (Meteorological Office, 1917: 1).
“The exposure seems satisfactory & there has been no change” (Meteorological Office, 1917: 2).
Condition of the instruments and screen: “The screen is in good order & solid. A little dusty & could be painted […]. A box was kept underneath it, this will be removed. No change has been made in the exposure in any way. The instruments are all in good order. […] All the screen thermometers can now be read without disturbing any of them.” (Meteorological office, 1917: 2).
General report: “In most particular this is a well worked station & interest is taken in the work by all concerned. This is the more creditable since the staff of the gardens is very much depleted owing to the war. The observing work is done by two of the garden hands; the forms are made up by Mr. M’Ardle in the office.” (Meteorological office, 1917: 4).
“The exposure is not at all bad” (Meteorological office, 1917: 4).
Site, outfit (except the barometer), exposure, observer, substitute observer and station as a whole are very good. (Meteorological office, 1917: 4).
October 1919 | Observer | David M'Ardle for Sir F. W. Moore.
November 1919 - March 1920 | Observer | Sir F. W. Moore.
April 1920 | Observer | David M'Ardle for Sir F. W. Moore.
May 1920 | Observer | Sir F. W. Moore.
June 1920 | Observer | David M'Ardle for Sir F. W. Moore.
July 1920 - April 1922 | Observer | Sir F. W. Moore.
2 November 1920 | Observations | Original air temperature Fahrenheit: manuscripts in archive at the Botanic Gardens (50° F); manuscripts in archive at Met Éireann (51° F).
May - July 1922 | Observer | J. W. Besant.
August 1922 | Observer | David M'Ardle.
September 1922 - July 1924 | Observer | J. W. Besant.
August 1924 | Observer | William Rose, Clerk for J. W. Besant, Acting Keeper.
September 1924 - July 1925 | Observer | J. W. Besant.
April - May 1925 | Observation time | Hour of reading and setting of maximum and minimum thermometers at 10 p.m.
June 1925 | Observation time | Hour of reading and setting of maximum and minimum thermometers at 9 p.m.
July - August 1925 | Observation time | Hour of reading and setting of maximum and minimum thermometers at 10 p.m.
August 1925 | Observer | William Rose.
September 1925 - March 1926 | Observation time | Hour of reading and setting of maximum and minimum thermometers at 9 p.m.
September 1925 - January 1927 | Observer | J. W. Besant.
April - September 1926 | Observation time | Hour of reading and setting of maximum and minimum thermometers at 10 p.m.
October 1926 - March 1927 | Observation time | Hour of reading and setting of maximum and minimum thermometers at 9 p.m.
February 1927 | Observer | William Rose.
March 1927 - August 1931 | Observer | J. W. Besant.
April - September 1927 | Observation time | Hour of reading and setting of maximum and minimum thermometers at 10 p.m.
October 1927 | Observation time | Hour of reading and setting of maximum and minimum thermometers at 9 p.m.
April 1928 | Data-sources; observations | Gaps in the manuscripts in archive at Botanic Gardens and Met Éireann (9 p.m. readings). The manuscripts in archive at National Library of Ireland – NLI series (9 a.m. readings) were used for data rescue in order to avoid gaps in the series.
6 September 1928 | Inspection of station; observers | “Site/station/observer good; observers are 2 gardeners. Temporary cessation of returns due staffing (Met Éireann, 2019, unpublished).
January 1929 | Observations | Correspondence between the Meteorological Office and the Observer on the maximum daily air temperature values being lower than the dry bulb values: "On the 7th and 11th the maxima are lower than the dry bulb readings for the beginning of the period to which the maximum refers. Glasnevin. Max. 21h.7th 36o Dry bulb 21h. 6th 39.0o. Phoenix Park Max. 21h. 7th 35o. Dry bulb 21h. 6th 32.6o. Glasnevin max. 21h 11th 43o Dry bulb 21h 10th 47.2o. Phoenix Park Max. 21h 11th 42o. Dry bulb 21h 10th 42.0o. In both cases the dry bulb readings at your station appear 5o too high." [Correspondence included in the meteorological manuscripts].
September 1931 | Observer | P. V. Miller for Keeper.
October 1931 - June 1933 | Observer | J. W. Besant.
7 July 1932 | Inspection of station; observer | Site/station/observer good (Met Éireann, 2019, unpublished).
July 1933 | Observer | P. V. Miller for Keeper.
August 1933 - July 1935 | Observer | J. W. Besant.
April 1934 | Thermometers | Minimum temperature. Minimum air temperature readings too low.
1 - 18 October 1934 | Thermometers | Note: "+0.8 to be applied to old min; new min in use from 19.10.34."
19 October 1934 - January 1950 | Thermometers | Minimum thermometer no. 78209.
November 1934 | Observations | Minimum temperature: "Letter sent about barometer and low min."
August 1935 | Observer | P. V. Miller for Keeper.
September 1935 - January 1936 | Observer | J. W. Besant.
February 1936 | Observer | P. V. Miller for Keeper.
March 1936 - January 1937 | Observer | J. W. Besant.
February 1937 | Observer | P. V. Miller for Keeper.
March 1937 - February 1943 | Observer | J. W. Besant.
30 March 1938 | Inspection of station | The instruments have been moved to a walled garden with potting sheds and green houses and a house on N.E. side. It would be hotter here than in the garden. Recent errors in temperature readings may be due inexperienced deputy observer (Met Éireann, 2019, unpublished).
March - April 1943 | Observer | Egan for Observer.
June 1943 - April 1944 | Observer | J. W. Besant.
May 1944 | Observer | T. J. Walsh.
July - August 1944 | Observer | J. W. Besant.
September 1944 - August 1946 | Observer | T. J. Walsh.
October 1944 | Thermometers | Maximum air temperature readings incorrect. Defective maximum suspected (Met Éireann, 2019, unpublished).
29 May 1945 | Observations | Maximum temperature: "Maxima probably 5° too high."
28 June 1945 | Observations | Maximum temperature: "Maxima probably 5° too high."
9 August 1945 | Thermometers | Minimum thermometer received (Met Éireann, 2019, unpublished).
September 1946 | Observer | Egan.
October 1946 | Observations | Note on maximum air temperature on days 24, 25, 26 and 29: "Differ lowly from Dublin and Phoenix Park."
October - November 1946 | Observer | T. J. Walsh.
December 1946 - February 1947 | Observer | Paul W. Murphy.
March 1947 - June 1948 | Observer | T. J. Walsh.
12 March 1948 | Thermometers | Minimum thermometer received (Met Éireann, 2019, unpublished).
July 1948 | Observer | Egan.
August 1948 - July 1949 | Observer | T. J. Walsh.
August 1949 | Observer | Egan.
September 1949 - January 1950 | Observer | T. J. Walsh.
February 1950 | Observer | John Fanning.
March - April 1950 | Observer | T. J. Walsh.
June 1950 | Observer | John Fanning.
29 June 1950 | Location | New site selected. Enclosure 30' x 20' in 3 acre field with good exposure (Met Éireann, 2019, unpublished).
July 1950 | Observer | T. J. Walsh.
8 July 1950 | Thermometers; thermometer screen | Instruments sent to Botanic Gardens: thermometer screen, maximum and minimum thermometers (Met Éireann, 2019, unpublished).
August 1950 | Thermometers | Minimum thermometer no. 61399/40.
1 August 1950 | Location; observation time | Instruments installed in new enclosure. Observation to commence at 0900h on 02/08/1950. (Met Éireann, 2019, unpublished).
August 1950 - 19 March 1953 | Thermometers | Maximum thermometer no. 20394/48.
26 September 1950 | Observations | Note: "memo. Rang Glasnevin re. corrections to thermometers and was informed that they have been applied as from date of erection of new enclosure. Suggested that in future registers should give a list of the corrections applied as it would avoid any unnecessary delays in completing register."
November 1950 | Thermometers | Note on new height above the ground for the new instruments: "New measurements for new instruments."
March 1951 | Data-source | Observations rescued from the manuscripts in archive at the Botanic Gardens. However, the corrections available as whole degree Fahrenheit in the manuscripts in archive at Met Éireann were rescued.
June 1952 | Data-source | Manuscripts in archive at Botanic Gardens used for data rescue of maximum air temperature values instead of the manuscripts in archive at Met Éireann as the readings are available as decimal degree Fahrenheit.
January 1953 | Observer | John Fanning.
26 - 31 January 1953 | Observations | The original maximum and minimum air temperature records available to decimal values were rescued instead of the corrections to the whole degree.
February 1953 - May 1954 | Observer | T. J. Walsh.
19 March 1953 | Thermometers | Maximum thermometer received (Met Éireann, 2019, unpublished).
20 March 1953 | Thermometers | Maximum thermometer no. 78704/52.
24 August 1953 | Thermometers | Minimum thermometer received (Met Éireann, 2019, unpublished).
June 1954 | Observer | John Fanning.
July 1954 - March 1955 | Observer | T. J. Walsh.
2 March 1955 | Inspection of station | All in order. Met Éireann (2019, unpublished).
April 1955 | Observer | John Fanning.
May 1955 - February 1956 | Observer | T. J. Walsh.
January & September 1956 | Thermometers | Thermometers set and read at 9 p.m.
March 1956 | Observer | John Fanning.
April 1956 | Observer | T. J. Walsh.
May 1956 | Observer | John Fanning.
16 May 1956 | Observation time | Observations being made at 9 a.m. and 9 p.m. I.S.T. When summer time is in force. Observer advised that it should be G.M.T. all year (Met Éireann, 2019, unpublished.).
19 May 1956 | Observation time | Observations to be made at GMT times in future (Met Éireann, 2019, unpublished).
June 1956 - November 1958 | Observer | T. J. Walsh.
September 1958 | Observation time | Thermometers set and read at 9 p.m.
December 1958 | Observer | John Fanning, for Observer.
18 December 1958 | Inspection of station | Records up to date. Instruments in good order. (Met Éireann, 2019, unpublished).
References
Dixon, F. E. 1953. Weather in old Dublin. Dublin Historical Record, 13(3/4): 94-107. http://www.jstor.org/stable/30103812
Dublin Society. 1813. The Proceedings of the Dublin Society, from November 5, 1812, to July 29, 1813. Vol. 49. Dublin: Graisberry and Campbell.
Dublin Society. 1817. The Proceedings of the Dublin Society, from November 7, 1816, to July 17, 1817. Vol. 53. Dublin: Graisberry and Campbell.
Keane, A.; Lonergan, T. and Treanor, M. 2017. Meteorological observations in Ireland 1855-1976: an archival Finding Aid. Historical Note No. 6. Met Éireann, 39p. http://hdl.handle.net/2262/74613 (Last accessed on 8/01/2019).
Marriott, W. 1894. Comparative observations with two sets of instruments at llfracombe, north Devon, during 1893. Quarterly Journal of the Royal Meteorological Society, 20: 164-168. https://doi.org/10.1002/qj.4970209005
McWilliams, B. 2000, December 20. The long silence of the frozen tree. Irish Times. https://www.irishtimes.com/news/the-long-silence-of-the-frozen-tree-1.1122085 (Last accessed on 1/08/2019).
Meteorological Council. 1882a. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1881. London: Her Majesty’s Stationery Office.
Meteorological Council. 1882b. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1882. London: Her Majesty’s Stationery Office.
Meteorological Council. 1884. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1883. London: Her Majesty’s Stationery Office.
Meteorological Council. 1885. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1884. London: Her Majesty’s Stationery Office.
Meteorological Council. 1886. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1885. London: Her Majesty’s Stationery Office.
Meteorological Council. 1887. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1886. London: Her Majesty’s Stationery Office.
Meteorological Council. 1888a. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1887. London: Her Majesty’s Stationery Office.
Meteorological Council. 1888b. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1888. London: Her Majesty’s Stationery Office.
Meteorological Council. 1890a. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1889. London: Her Majesty’s Stationery Office.
Meteorological Council. 1890b. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1890. London: Her Majesty’s Stationery Office.
Meteorological Council. 1892. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1891. London: Her Majesty’s Stationery Office.
Meteorological Council. 1893a. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1892. London: Her Majesty’s Stationery Office.
Meteorological Council. 1893b. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1893. London: Her Majesty’s Stationery Office.
Meteorological Council. 1895a. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1894; submitted to the President and Council of the Royal Society. London: Her Majesty’s Stationery Office.
Meteorological Council. 1895b. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1895; submitted to the President and Council of the Royal Society. London: Her Majesty’s Stationery Office.
Meteorological Council. 1896. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1896; submitted to the President and Council of the Royal Society. London: Her Majesty’s Stationery Office.
Meteorological Council. 1897. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1897; submitted to the President and Council of the Royal Society. London: Her Majesty’s Stationery Office.
Meteorological Council. 1898. Report of the Meteorological Council, for the year ending 31st of March, 1898, to the President and Council of the Royal Society. London: Her Majesty’s Stationery Office.
Meteorological Council. 1899. Report of the Meteorological Council, for the year ending 31st of March, 1899, to the President and Council of the Royal Society. London: Her Majesty’s Stationery Office.
Meteorological Council. 1900. Report of the Meteorological Council, for the year ending 31st of March, 1900, to the President and Council of the Royal Society. London: Her Majesty’s Stationery Office.
Meteorological Council. 1906. Report of the Meteorological Council, for the year ending 31st of March, 1905, to the President and Council of the Royal Society. London: Her Majesty’s Stationery Office.
Meteorological Office. 1887. Meteorological observations at stations of the second order for the year 1882. London: Her Majesty’s Stationery Office.
Meteorological Office. 1888a. Meteorological observations at stations of the second order for the year 1883. London: Her Majesty’s Stationery Office.
Meteorological Office. 1888b. Meteorological observations at stations of the second order for the year 1884. London: Her Majesty’s Stationery Office.
Meteorological Office. 1889. Meteorological observations at stations of the second order for the year 1885. London: Her Majesty’s Stationery Office.
Meteorological Office. 1890. Meteorological observations at stations of the second order for the year 1886. London: Her Majesty’s Stationery Office.
Meteorological Office. 1891. Meteorological observations at stations of the second order for the year 1887. London: Her Majesty’s Stationery Office.
Meteorological Office. 1892. Meteorological observations at stations of the second order for the year 1888. London: Her Majesty’s Stationery Office.
Meteorological Office. 1893. Meteorological observations at stations of the second order for the year 1889. London: Her Majesty’s Stationery Office.
Meteorological Office. 1894. Meteorological observations at stations of the second order for the year 1890. London: Her Majesty’s Stationery Office.
Meteorological Office. 1895. Meteorological observations at stations of the second order for the year 1891. London: Her Majesty’s Stationery Office.
Meteorological Office. 1896. Meteorological observations at stations of the second order for the year 1892. London: Her Majesty’s Stationery Office.
Meteorological Office. 1897a. Meteorological observations at stations of the second order for the year 1893. London: Her Majesty’s Stationery Office.
Meteorological Office. 1897b. Meteorological observations at stations of the second order for the year 1894. London: Her Majesty’s Stationery Office.
Meteorological Office. 1899a. Meteorological observations at stations of the second order for the year 1895. London: Her Majesty’s Stationery Office.
Meteorological Office. 1899a. Meteorological observations at stations of the second order for the year 1896. London: Her Majesty’s Stationery Office.
Meteorological Office. 1900. Meteorological observations at stations of the second order for the year 1897. London: Her Majesty’s Stationery Office.
Meteorological Office. 1901a. Meteorological observations at stations of the second order for the year 1898. London: Her Majesty’s Stationery Office.
Meteorological Office. 1901b. Notes of inspection of Glasnevin 1901. Meteorological Office. [Unpublished handwritten inspection of station in archive at Met Éireann – not catalogued].
Meteorological Office. 1902a. Meteorological observations at stations of the second order for the year 1899. London: Her Majesty’s Stationery Office.
Meteorological Office. 1902b. Notes of inspection of Dublin (Glasnevin) 1902. Meteorological Office. [Unpublished handwritten inspection of station in archive at Met Éireann – not catalogued].
Meteorological Office. 1904. Notes of inspection of Glasnevin 1904. Meteorological Office. [Unpublished handwritten inspection of station in archive at Met Éireann – not catalogued].
Meteorological Office. 1906. Meteorological observations at stations of the second order for the year 1901. London: Her Majesty’s Stationery Office.
Meteorological Office. 1907a. Meteorological observations at stations of the second order for the year 1902. London: Her Majesty’s Stationery Office.
Meteorological Office. 1907b. Notes of inspection of Dublin (Glasnevin) 1907. Meteorological Office. [Unpublished handwritten inspection of station in archive at Met Éireann – not catalogued].
Meteorological Office. 1908a. Meteorological observations at stations of the second order for the year 1903. London: Her Majesty’s Stationery Office.
Meteorological Office. 1908b. Meteorological observations at stations of the second order for the year 1904. London: Her Majesty’s Stationery Office.
Meteorological Office. 1909a. Meteorological observations at stations of the second order for the year 1905. London: Her Majesty’s Stationery Office.
Meteorological Office. 1909b. Meteorological observations at stations of the second order for the year 1906. London: Her Majesty’s Stationery Office.
Meteorological Office. 1910. Meteorological observations at stations of the second order for the year 1907. London: Her Majesty’s Stationery Office.
Meteorological Office. 1913. Notes of inspection of Dublin (Glasnevin) 1913. Meteorological Office. [Unpublished handwritten inspection of station in archive at Met Éireann – not catalogued].
Meteorological Office. 1916. Notes of inspection of Dublin Glasnevin 1916. Meteorological Office. [Unpublished handwritten inspection of station in archive at Met Éireann – not catalogued].
Meteorological Office. 1917. Notes of inspection of Dublin Glasnevin 1917. Meteorological Office. [Unpublished handwritten inspection of station in archive at Met Éireann – not catalogued].
Mollan, R. C. 1995. Irish national inventory of historic scientific instruments. Blackrock: Santom Limited.
Morrison-Low, A. D. and Burnett, J. E. 1989. Scientific instrument making in Dublin, 1700-1830. In J. E. Burnett and A. D. Morrison-Low (Ed.) Vulgar and mechanic: The scientific instrument trade in Ireland 1650-1921(19-38). Edinburgh: National Museums of Scotland and Dublin: Royal Dublin Society.
Royal Dublin Society. 1820. The Proceedings of the Royal Dublin Society, from November 4, 1819, to August 31, 1820. Vol. 56. Dublin: Daniel Graisberry.
Royal Dublin Society. 1824. The Proceedings of the Royal Dublin Society, from November 6, 1823, to July, 22, 1824. Vol. 60. Dublin: R. Graisberry.
Royal Dublin Society. 1825. The Proceedings of the Royal Dublin Society, from November 4, 1824, to July 14, 1825. Vol. 61. Dublin: R. Graisberry.
Royal Dublin Society. 1827. The Proceedings of the Royal Dublin Society, from November, 2, 1826, to July, 19, 1827. Vol. 63. Dublin: Daniel Graisberry.
Royal Dublin Society. 1828. The Proceedings of the Royal Dublin Society, from November 1, 1827, to July 17, 1828. Vol. 64. Dublin: R. Graisberry.
Royal Dublin Society. 1831. Proceedings of the Royal Dublin Society, from November 5, 1830, to October 12, 1831. Vol. 67. Dublin: R. Graisberry.
Royal Dublin Society. 1832. Proceedings of the Royal Dublin Society, from November 2, 1831, to July 5, 1832. Vol. 68. Dublin: R. Graisberry.
Royal Dublin Society. 1833. Proceedings of the Royal Dublin Society, from November 1, 1832, to July 11, 1833. Vol. 69. Dublin: R. Graisberry.
Royal Dublin Society. 1837. Proceedings of the Royal Dublin Society, from November 3, 1836, to July 6, 1837. Vol. 73. Dublin: R. Graisberry.
Royal Dublin Society. 1847. The Proceedings of the Royal Dublin Society from November 5, 1846, to July 1, 1847. Vol. 83. Dublin: University Press.
Royal Dublin Society. 1848a. The Proceedings of the Royal Dublin Society from November 4, 1847, to June 29, 1848. Vol. 84. Dublin: University Press.
Royal Dublin Society. 1848b. Appendix No. X, Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, commencing 1st July, and ending 31st December, 1847. The Proceedings of the Royal Dublin Society from November 4, 1847, to June 29, 1848, Vol. 84. cxxx-cxxxv. Dublin: University Press.
Royal Dublin Society. 1849a. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, by John Moulds, Gate-keeper, commencing 1st July, and ending 31st December 1848. The Proceedings of the Royal Dublin Society, from November 2, 1848, to June 19, 1849. Vol. 85: lxxx-lxxxvii. Dublin: University Press.
Royal Dublin Society. 1849b. Meteorological Journal, kept at The Royal Dublin Society’s Botanic Garden, Glasnevin, by John Moulds, Gate-keeper, commencing 1st January, and ending 30th June, 1849. The Proceedings of the Royal Dublin Society, from November 2, 1848, to June 19, 1849. Vol. 85: cxxxii – cxxxix. Dublin: University Press.
Royal Dublin Society. 1849c. The Proceedings of the Royal Dublin Society, from November 2, 1848, to June 19, 1849. Vol. 85. Dublin: University Press.
Royal Dublin Society. 1850. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, by John Moulds, Gate-keeper, commencing 1st July, and ending 31st December, 1849. The Proceedings of the Royal Dublin Society, from November 1, 1849, to June 27, 1850. Vol. 86: lxxxix – xcv. Dublin: University Press.
Royal Dublin Society. 1851. The Proceedings of the Royal Dublin Society, from November 7, 1850, to June 26, 1851. Vol. 87. Dublin: University Press.
Royal Dublin Society. 1852a. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January to 31st March, 1852. The Proceedings of the Royal Dublin Society, from November 6, 1851, to June 24, 1852. Vol. 87: cxix – cxxii. Dublin: University Press.
Royal Dublin Society. 1852b. The Proceedings of the Royal Dublin Society, from November 6, 1851, to June 24, 1852. Vol. 87. Dublin: University Press.
Royal Dublin Society. 1853a. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st April to 31st December, 1852. Proceedings of the Council of the Royal Dublin Society, from November 4, 1852, to September 8, 1853. Vol. 89: xciii – cii. Dublin: University Press.
Royal Dublin Society. 1853b. Proceedings of the Council of the Royal Dublin Society, from November 4, 1852, to September 8, 1853. Vol. 89. Dublin: University Press.
Royal Dublin Society. 1854a. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January to 31st December, 1853. The Proceedings of the Royal Dublin Society, from July 1, 1853, to June 30, 1854. Vol. 90: xciii – cv. Dublin: University Press.
Royal Dublin Society. 1854b. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January to 30th June, 1854. The Proceedings of the Royal Dublin Society, from July 1, 1853, to June 30, 1854. Vol. 90: clxxix – clxxxv. Dublin: University Press.
Royal Dublin Society. 1855a. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 30th June to 31st December, 1854. The Proceedings of the Royal Dublin Society, from July 1, 1854, to June 30, 1855. Vol. 91: lvii – lxiii. Dublin: University Press.
Royal Dublin Society. 1855b. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January to 30th June, 1855. The Proceedings of the Royal Dublin Society, from July 1, 1854, to June 30, 1855. Vol. 91: cliii – clix. Dublin: University Press.
Royal Dublin Society. 1856a. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st July, 1855, to 31st December, 1855. The Proceedings of the Royal Dublin Society, from July 1, 1855, to June 30, 1856. Vol. 92: lxiii – lxix. Dublin: University Press.
Royal Dublin Society. 1856b. The Proceedings of the Royal Dublin Society, from July 1, 1855, to June 30, 1856. Vol. 92. Dublin: University Press.
Royal Dublin Society. 1858a. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January 1856. The Journal of the Royal Dublin Society. Vol. 1: i – xxvii. Dublin: Hodges, Smith, & Co.
Royal Dublin Society. 1858b. The Proceedings of the Royal Dublin Society, from August 6, 1857, to June 24, 1858. Vol. 94. Dublin: University Press.
Royal Dublin Society. 1860. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January 1858. The Journal of the Royal Dublin Society. Vol. 2: i – xxvii. Dublin: Hodges, Smith, & Co.
Royal Dublin Society. 1862a. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January, 1860. The Journal of the Royal Dublin Society. Vol. 3: i – xiv. Dublin: Hodges, Smith, & Co.
Royal Dublin Society. 1862b. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January, 1861. The Journal of the Royal Dublin Society. Vol. 3: xiii – xxvi. Dublin: Hodges, Smith, & Co.
Royal Dublin Society. 1866a. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January, 1862. The Journal of the Royal Dublin Society. Vol. 4: i – xiv. Dublin: Hodges, Smith, & Co.
Royal Dublin Society. 1866b. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January, 1863. The Journal of the Royal Dublin Society, Vol. 4: i – xiv. Dublin: Hodges, Smith, & Co.
Royal Dublin Society. 1866c. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January, 1864. The Journal of the Royal Dublin Society, Vol. 4: i – xiv. Dublin: Hodges, Smith, & Co.
Royal Dublin Society. 1866d. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January, 1865. The Journal of the Royal Dublin Society, Vol. 4: i – viii. Dublin: Hodges, Smith, & Co.
Royal Dublin Society. 1867. The Proceedings of the Royal Dublin Society, from July 4, 1866, to June 27, 1867. Vol. 103. Dublin: University Press.
Royal Dublin Society. 1870. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st July, 1865. The Journal of the Royal Dublin Society, Vol. 5: i – lvi. Dublin: Hodges, Smith, & Co.
Royal Dublin Society. 1871. The Proceedings of the Royal Dublin Society, from July 18, 1870, to June 29, 1871. Vol. 107. Dublin: University Press.
Royal Dublin Society. 1874. The Proceedings of the Royal Dublin Society, from July 3, 1873 to June 25, 1874. Vol. 110. Dublin: Alex. Thom for Her Majesty’s Stationery Office.
Royal Dublin Society. 1875a. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st April, 1870, to 1st May, 1871. The Journal of the Royal Dublin Society, Vol. 6: i – xvi. Dublin: Hodges, Smith, & Co.
Royal Dublin Society. 1875b. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st June, 1871, to 28th September, 1872. The Journal of the Royal Dublin Society, Vol. 6: i – xviii. Dublin: Hodges, Smith, & Co.
Royal Dublin Society. 1875c. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st October, 1872, to 31st December, 1873. The Journal of the Royal Dublin Society, Vol. 6: i – xvii. Dublin: Hodges, Smith, & Co.
Royal Dublin Society. 1875d. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January, 1874, to 31st July, 1874. The Journal of the Royal Dublin Society, Vol. 6: i – ix. Dublin: Hodges, Smith, & Co.
Royal Dublin Society. 1878a. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st August to 30th December 1874. The Journal of the Royal Dublin Society, Vol. 7: i – v Dublin: Alexander Thom.
Royal Dublin Society. 1878b. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January to 31st December, 1875. The Journal of the Royal Dublin Society, Vol. 7: i – xxiii. Dublin: Alexander Thom.
Royal Dublin Society. 1878c. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January to 31st December, 1876. The Journal of the Royal Dublin Society, Vol. 7: i – xxvii. Dublin: Alexander Thom.
Royal Irish Academy 1850. Instructions for making meteorological and tidal observations. Prepared by the Council of the Royal Irish Academy. M. H. Gill, Dublin.
Six, J. 1782. Account of an improved thermometer. Philosophical Transactions of the Royal Society of London, 72: 72-81. https://doi.org/10.1098/rstl.1782.0012
Six, J. 1794. The construction and use of a thermometer for showing the extremes of temperature in the atmosphere, during the observer’s absence. Together with experiments on the variations of local heat, and other meteorological observations. Maidstone: printed and sold by J. Black; and Messrs. G. & T. Wilkie, London.
Stevenson, T. 1866. New description of box for holding thermometers. Proceedings of the Scottish Meteorological Society, 1: 122-123.
Symons’s Monthly Meteorological Magazine. 1867. Cold winters. Symons’s Monthly Meteorological Magazine, 1(12): 101-105. London: Edward Stanford.
The House of Commons. 1836. Report from the select committee on Royal Dublin Society; together with the minutes of evidence, and appendix. Great Britain: Her Majesty’s Stationery Office.
Data-sources
Met Éireann. Meteorological observations for Glasnevin, Dublin city centre, and Balbriggan/Ardgillan. Manuscripts MÉ/MO/17/2 - MÉ/MO/17/9.
National Botanic Gardens Library. Meteorological observations. August 1867 – July 1874. [Manuscripts not catalogued].
National Botanic Gardens Library. Meteorological observations. August 1874 – December 1880. [Manuscripts not catalogued].
National Botanic Gardens Library. Meteorological observations. 1881 – 1888. [Manuscripts not catalogued].
National Botanic Gardens Library. Meteorological observations. January 1889 – July 1901. [Manuscripts not catalogued].
National Botanic Gardens Library. Meteorological observations. August 1901 – December 1918. [Manuscripts not catalogued].
National Botanic Gardens Library. Meteorological observations. January 1919 – April 1928. [Manuscripts not catalogued].
National Botanic Gardens Library. Meteorological observations. May 1928 – December 1950. [Manuscripts not catalogued].
National Botanic Gardens Library. Meteorological observations. 1951 – 1957. [Manuscripts not catalogued].
National Library of Ireland. Fragments of the daily weather reports from the Society’s Glasnevin Gardens Jan-March, 1834. With a letter from J. Underwood on the state of the lodge there. Manuscript (MS. 4619) [1834]
Royal Dublin Society. 1848. Appendix No. X, Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, commencing 1st July, and ending 31st December, 1847. The Proceedings of the Royal Dublin Society from November 4, 1847, to June 29, 1848. Vol. 84: cxxx-cxxxv. Dublin: University Press.
Royal Dublin Society. 1849a. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, by John Moulds, Gate-keeper, commencing 1st July, and ending 31st December 1848. The Proceedings of the Royal Dublin Society, from November 2, 1848, to June 19, 1849. Vol. 85: lxxx-lxxxvii. Dublin: University Press.
Royal Dublin Society. 1849b. Meteorological Journal, kept at The Royal Dublin Society’s Botanic Garden, Glasnevin, by John Moulds, Gate-keeper, commencing 1st January, and ending 30th June, 1849. The Proceedings of the Royal Dublin Society, from November 2, 1848, to June 19, 1849. Vol. 85: cxxxii – cxxxix. Dublin: University Press.
Royal Dublin Society. 1850. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, by John Moulds, Gate-keeper, commencing 1st July, and ending 31st December, 1849. The Proceedings of the Royal Dublin Society, from November 1, 1849, to June 27, 1850. Vol. 86: lxxxix – xcv. Dublin: University Press.
Royal Dublin Society. 1852. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January to 31st March, 1852. The Proceedings of the Royal Dublin Society, from November 6, 1851, to June 24, 1852. Vol. 87: cxix – cxxii. Dublin: University Press.
Royal Dublin Society. 1853. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st April to 31st December, 1852. Proceedings of the Council of the Royal Dublin Society, from November 4, 1852, to September 8, 1853. Vol. 89: xciii – cii. Dublin: University Press.
Royal Dublin Society. 1854a. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January to 31st December, 1853. The Proceedings of the Royal Dublin Society, from July 1, 1853, to June 30, 1854. Vol. 90: xciii – cv. Dublin: University Press.
Royal Dublin Society. 1854b. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January to 30th June, 1854. The Proceedings of the Royal Dublin Society, from July 1, 1853, to June 30, 1854. Vol. 90: clxxix – clxxxv. Dublin: University Press.
Royal Dublin Society. 1855a. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 30th June to 31st December, 1854. The Proceedings of the Royal Dublin Society, from July 1, 1854, to June 30, 1855. Vol. 91: lvii – lxiii. Dublin: University Press.
Royal Dublin Society. 1855b. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January to 30th June, 1855. The Proceedings of the Royal Dublin Society, from July 1, 1854, to June 30, 1855. Vol. 91: cliii – clix. Dublin: University Press.
Royal Dublin Society. 1856. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st July, 1855, to 31st December, 1855. The Proceedings of the Royal Dublin Society, from July 1, 1855, to June 30, 1856. Vol. 92: lxiii – lxix. Dublin: University Press.
Royal Dublin Society. 1858. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January 1856. The Journal of the Royal Dublin Society. Vol. 1: i – xxvii. Dublin: Hodges, Smith, & Co.
Royal Dublin Society. 1860. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January 1858. The Journal of the Royal Dublin Society. Vol. 2: i – xxvii. Dublin: Hodges, Smith, & Co.
Royal Dublin Society. 1862a. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January, 1860. The Journal of the Royal Dublin Society. Vol. 3. i – xiv. Dublin: Hodges, Smith, & Co.
Royal Dublin Society. 1862b. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January, 1861. The Journal of the Royal Dublin Society. Vol. 3: xiii – xxvi. Dublin: Hodges, Smith, & Co.
Royal Dublin Society. 1866a. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January, 1862. The Journal of the Royal Dublin Society. Vol. 4: i – xiv. Dublin: Hodges, Smith, & Co.
Royal Dublin Society. 1866b. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January, 1863. The Journal of the Royal Dublin Society, Vol. 4: i – xiv. Dublin: Hodges, Smith, & Co.,
Royal Dublin Society. 1866c. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January, 1864. The Journal of the Royal Dublin Society, Vol. 4: i – xiv. Dublin: Hodges, Smith, & Co.
Royal Dublin Society. 1866d. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st January, 1865. The Journal of the Royal Dublin Society, Vol. 4: i – viii. Dublin: Hodges, Smith, & Co.
Royal Dublin Society. 1870. Meteorological Journal, kept at the Royal Dublin Society’s Botanic Garden, Glasnevin, from 1st July, 1865. The Journal of the Royal Dublin Society, Vol. 5: i – lvi. Dublin: Hodges, Smith, & Co.