## Metadata
Rescued station metadata - Valentia Observatory
Date | Metadata | Description
19th century | Thermometers | Notes on thermometers kept at the Met Éireann section in Valentia: "Thermometer - Glass mercury Negretti & Zambra, scientific instrument makers, London nos. 173972 1701 and 173974 1702 H 732 & 726; MxW 73 & 70. Mid to late 19 C. G. Two; brass and glass; glass scale with white cover 250-320°; rounded brass protection for bulb; Valentia. Both are now mounted on mahogany backboards; the first record test of these standard thermometers at Kew Observatory was in 1915, but they data from before this; they were used as standards from January 1919 until 1977 when the photographic thermogram was withdrawn from service." (Mollan, 1995: 89).
19th - 20th centuries | Thermometer screen | "At Valentia Observatory, one set of thermometers was exposed in a Stevenson screen supported on a stand above ground covered with short grass in the instrument enclosure. A second set was in a North Wall screen." (Irish Meteorological Service, 1951: 1). Terminal hour of reading was 24h G.M.T. (Irish Meteorological Service, 1951: 4).
1868 | Thermograph | Notes on early instruments kept at Met Éireann section in Valentia: "Thermograph - photographic Adie London (Lenses) J. H. Dallmeyer London 13836 and 13837 Thermograph Lens St 457-1255x1196x1108. 1868. AQ. Two brass and glass maps provide light sources, which are condensed with bill's eye condensers to mirrors, and thus reflected through an air break in the mercury tubes of wet bulb and dry bulb thermometers; two Dallmeyer photographic lenses project these images, arranged so that one is above the other, onto sensitive paper on the single drum, turned by a pendulum-controlled clock so that turns once in 48 hours; the clock also operates a stop which cuts off the light from the paper for four minutes every two hours to check the accuracy of the chart. The instrument was received new in Valentia in August 1868. It is described in the Report of the meteorological Committee of the Royal Society for 1867, pages 27-35, and Plate I. It was moved to the mainland in March 1892 and was maintained in operation until 1977." (Mollan, 1995: 89).
1 – 3 September 1880 | Inspection of station; thermometer screen | “The thermometers for eye observation were all in good order, with the exception of the maximum, which I exchange for one I took out with me. As Mr. Cullum was of opinion that the ventilation of his thermometer screen was somewhat defective at times of great heat, owing to its closed top, I bored several holes in the upper part of the woodwork to enable a current of air to pass through.” (Meteorological Council, 1882a: 68).
3 - 5 October 1881 | Inspection of station | Instruments were in good order. Meteorological Council (1882b: 70).
20 – 22 September 1882 | Inspection of station; thermometers | “The minimum thermometer had some spirit in its chamber; this was put right” (Meteorological Council, 1884: 61). The Inspector was unable to test the standard thermometers for errors as his standard thermometer having been broken (Meteorological Council, 1884).
4 October 1882 | Inspection of station | “Observatory in good order.” Meteorological Council (1884: 51).
1883 | Inspection of station | Observatory “in a very satisfactory condition” (Meteorological Council, 1885: 50).
25 September 1884 | Inspection of station | The “instruments continue in good order” (Meteorological Council, 1886: 50)
9 - 13 October 1885 | Inspection of station; thermometers | “The maximum and minimum thermometers were also examined and found in good order, but the scales were re-blackened” (Meteorological Council, 1887: 53).
25 – 27 October 1886 | Inspection of station; thermometers | "The whole of the instruments, however, were working satisfactorily, but the usual cleaning was performed of both clocks and instruments generally" (Meteorological Council, 1888a: 64). “Standard thermometers compared at 50º with my standard, the following corrections being found to be requisite: Max. 477 -0.3º; Min. 2407 -0.1º.” (Meteorological Council, 1888a: 64).
5 - 10 September 1887 | Inspection of station; thermometers | “The corrections to the thermometers were found to be at 60º: Maximum M. O. 1,003 0.0º; minimum 2,497 -0.3º.” (Meteorological Council, 1888b: 79). "The minimum figure scale differs nearly 1o from the graduations on the tube" (Meteorological Council, 1888b: 79).
6 – 10 October 1888 | Inspection of station; thermometers | “At usual at this observatory the instruments were in good order.” (Meteorological Council, 1890a: 50). “The thermometers were compared by means of a Kew standard thermometer no. 682 at 55 degrees, and their correction found to be as follows: Maximum M.O. 1003: 0º; Minimum 2497: -0.3º.” (Meteorological Council, 1890a: 51).
29 July – 2 August 1889 | Inspection of station; thermometers | "The instruments were all inspected and found in good order. A slight want of repair in the thermograph screen was pointed out to Mr. Cullum." (Meteorological Council, 1890b: 83). "The thermometers were compared with the observer’s standard K.O.682 and the corrections at the 60º are the following: maximum thermometer no.1003: 0º; minimum thermometer 2497: -0.2º." (Meteorological Council, 1890b: 83).
1 October 1890 | Inspection of station; station history | "I visited Westwood House, 1 mile from Cahirciveen. It is an ordinary dwelling-house standing in 20 acres of land, with frontage to road and sea, held under a direct lease from Trinity College. Its situation is much more open that the present locality of the observatory, and the fact of its being within a mile of the town, without the intervention of a ferry, would render communication much easier and cheaper" (Meteorological Council, 1892: 38).
11 – 15 October 1890 | Inspection of station; thermometer | "The instruments here were all found to be in excellent order" (Meteorological Council, 1892: 54). “The various thermometers were compared with Kew standard thermometer no.682, and found to require the following corrections, namely: maximum M.O. 1003 -0.1º, minimum M.O. 2497 -0.1º.” (Meteorological Council, 1892: 54).
March 1892 | Inspection of station; re-location; thermometers | Re-location of station. Report on the visit to the new Observatory at Westwood House, Cahirciveen. On March the 7th: "erection of the instrument room on the ground floor, so that the thermograph should be on the ground level, and its thermometer bulbs should be fitted at a height of 5 feet above it. The mason accordingly prepared foundations for the erection of a wall arranged so as to form an alcove, which enclosed the thermograph slab and formed the north wall to the instrument room" (Meteorological Council, 1893: 56). On March the 10th: "We dismounted the thermograph and the standard thermometers, which we then conveyed to Westwood." (Meteorological Council, 1893: 57). "On Saturday, March 19th, all the instruments were started provisionally" (Meteorological Council, 1893: 57). On March the 24th there were compared the thermometers with the Kew Standard: maximum thermometer no. 1003 (correction 0.0o); minimum thermometer no. 2497 (correction 0.0o). Meteorological Council (1893: 57).
11 - 13 October 1894 | Inspection of station; thermometers | The instruments "needed cleaning", not having been dismounted since their erection in March 1892, at the new observatory" (Meteorological Council, 1895: 70). "The thermometers were compared and found to require the following corrections at 55o Faht. [Fahrenheit]: Maximum, M.O., 1003 0.0o; Minimum, M.O. 2497 +0.4o. As the correction to the minimum thermometer was rather large the tube was dismounted and the chamber end warmed over a lamp. It has been placed in a vertical position for some time, when the following correction was obtained: Minimum, 2497 0.0o." (Meteorological Council, 1895: 71).
10 - 14 October 1895 | Inspection of station; thermometers | The instruments "were in good order." (Meteorological Council, 1896: 67). "The thermometer were compared with the Kew standard, no.720, and the following corrections determined at 55o Fahr. [Fahrenheit]: Maximum, M.O. 1003: -0.1o; Maximum, M.O. 2497: +0.1.o" (Meteorological Council, 1896: 67).
25 - 28 August 1896 | Inspection of station; thermometers | "All the recording instruments here evidently receive regular care and attention." (Meteorological Council, 1897: 60). "The thermometers were compared with Kew standard no.720, at 55o, and the following found to be the corrections required: - Maximum, M.O. 1003: 0.0o: Minimum, M.O. 2497: +0.5o. The plus correction to the minimum seemed rather large, so I thoroughly heated chamber and placed tube in a vertical position for some time, and a subsequent comparison with Kew standard gave the require correction as +0.1.o" (Meteorological Council, 1897: 61).
7 - 9 October 1897 | Inspection of station; thermometers | "The instruments at this observatory were all in good order." The thermometers were "compared in water with the Kew standard no. 720 at 55o Fahr. [Fahrenheit], and their corrections found as follows: Maximum M.O. 1003: 0.0o; Minimum M.O. 2497: +0.2o." (Meteorological Council, 1898: 63).
2 - 4 August 1898 | Inspection of station | "The self-recording instruments at this Observatory evidently continue to receive regular and careful attention." (Meteorological Council, 1899: 71).
3 - 6 October 1899 | Inspection of station; thermometers | The "instruments were found duly working in good order." (Meteorological Council, 1900: 93). "The thermometers were compared and their corrections found to be as follows, at 55o: Maximum, M.O. 1003: 0.0o; Minimum, M.O. 2497: +0.5o. The minimum thermometer had a small quantity of spirit in its chamber; this was set right, and the thermometer again tested after an interval of about an hour, when the following correction was determined: Minimum 2497 0.0o." (Meteorological Council, 1900: 94).
21 - 23 August 1900 | Inspection of station; thermometers | Thermometer corrections: maximum thermometer -0.5o; minimum thermometer -0.1o. Meteorological Council (1901: 113).
19 - 21 August 1902 | Inspection of station | "The self-recording instruments at this observatory appeared to be working satisfactorily." (Meteorological Council, 1904a: 116).
26 - 29 September 1903 | Inspection of station | "The instruments were in good order" (Meteorological Council, 1904b: 112).
25 August 1904 | Inspection of station | Meteorological Council (1906).
1911-1921 | Data-sources; observations | Daily maximum and minimum air temperature observations registered as Kelvin absolute scale were published in the Geophysical Journal (Meteorological Office, 1912, 1914 - 1916, 1917,b, 1918-1923.
1919-1977 | Thermometer screen; thermometers | "Standard absolute thermometers no's 1701 and 1702: these thermometers were used as standards in the North wall screen from January 1919 to 1977 when the Photographic Thermograph was withdrawn from service." (Mollan, 2008: 3).
1922-1940 | Data-sources; observations | Daily maximum and minimum air temperature observations registered as Kelvin absolute scale were published in the Observatories Year Book which are available at the UK Met Office Digital Library and Archive (https://digital.nmla.metoffice.gov.uk/SO_5575296f-0406-49f5-89cb-54cd79486b75/, last accessed on 13/08/2019).
References
Irish Meteorological Service. 1951. Mean and extreme values of air temperature for stations in Ireland 1921-1950. Department of Transport and Power. Meteorological Service. http://hdl.handle.net/2262/76871 (Last accessed on 09/01/2019).
Meteorological Council. 1882a. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1881. London: Her Majesty’s Stationery Office.
Meteorological Council. 1882b. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1882. London: Her Majesty’s Stationery Office.
Meteorological Council. 1884. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1883. London: Her Majesty’s Stationery Office.
Meteorological Council. 1885. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1884. London: Her Majesty’s Stationery Office.
Meteorological Council. 1886. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1885. London: Her Majesty’s Stationery Office.
Meteorological Council. 1887. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1886. London: Her Majesty’s Stationery Office.
Meteorological Council. 1888a. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1887. London: Her Majesty’s Stationery Office.
Meteorological Council. 1888b. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1888. London: Her Majesty’s Stationery Office.
Meteorological Council. 1890a. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1889. London: Her Majesty’s Stationery Office.
Meteorological Council. 1890b. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1890. London: Her Majesty’s Stationery Office.
Meteorological Council. 1892. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1891. London: Her Majesty’s Stationery Office.
Meteorological Council. 1893. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1892. London: Her Majesty’s Stationery Office.
Meteorological Council. 1895. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1895; submitted to the President and Council of the Royal Society. London: Her Majesty’s Stationery Office.
Meteorological Council. 1896. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1896; submitted to the President and Council of the Royal Society. London: Her Majesty’s Stationery Office.
Meteorological Council. 1897. Report of the Meteorological Council to the Royal Society, for the year ending 31st of March 1897; submitted to the President and Council of the Royal Society. London: Her Majesty’s Stationery Office.
Meteorological Council. 1898. Report of the Meteorological Council, for the year ending 31st of March, 1898, to the President and Council of the Royal Society. London: Her Majesty’s Stationery Office.
Meteorological Council. 1899. Report of the Meteorological Council, for the year ending 31st of March, 1899, to the President and Council of the Royal Society. London: Her Majesty’s Stationery Office.
Meteorological Council. 1900. Report of the Meteorological Council, for the year ending 31st of March, 1900, to the President and Council of the Royal Society. London: Her Majesty’s Stationery Office.
Meteorological Council. 1901. Report of the Meteorological Council, for the year ending 31st of March, 1901, to the President and Council of the Royal Society. London: Her Majesty’s Stationery Office.
Meteorological Council. 1904a. Report of the Meteorological Council, for the year ending 31st of March, 1903, to the President and Council of the Royal Society. London: Her Majesty’s Stationery Office.
Meteorological Council. 1904b. Report of the Meteorological Council, for the year ending 31st of March, 1904, to the President and Council of the Royal Society. London: Her Majesty’s Stationery Office.
Meteorological Council. 1906. Report of the Meteorological Council, for the year ending 31st of March, 1905, to the President and Council of the Royal Society. London: Her Majesty’s Stationery Office.
Meteorological Office. 1912. British Meteorological and Magnetic Year Book, Part III., Section 2. Geophysical Journal, 1911, comprising daily values of the meteorological and geophysical elements observed at the Central Observatory (Kew), Magnetic Observatory (Eskdale), and Western Observatory (Valencia) together with wind components at fixed hours at four anemograph stations of the Meteorological Office. London: His Majesty’s Stationery Office.
Meteorological Office. 1914. British Meteorological and Magnetic Year Book. Part III., Section 2. Geophysical Journal, 1912, comprising daily values of the meteorological and geophysical elements observed at three observatories of the Meteorological Office; together with wind components at fixed hours at four anemograph stations; daily values of solar radiation at South Kensington; tabulations and annual summary of occasional soundings of the upper air; preceded by an introduction. Edinburg: His Majesty’s Stationery Office.
Meteorological Office. 1915. British Meteorological and Magnetic Year Book. Part III., Section 2. Geophysical Journal, 1913, comprising daily values of the meteorological and geophysical elements observed at three observatories of the Meteorological Office; together with wind components at fixed hours at four anemograph stations; daily values of solar radiation at South Kensington; tabulations and annual summary of occasional soundings of the upper air; and of cloud observations. Preceded by an introduction. Edinburg: His Majesty’s Stationery Office.
Meteorological Office. 1916. British Meteorological and Magnetic Year Book. Part III., Section 2. Geophysical Journal, 1914, comprising daily values of the meteorological and geophysical elements observed at three observatories of the Meteorological Office; together with wind components at fixed hours at four anemograph stations; daily values of solar radiation at South Kensington; tabulations and annual summary of occasional soundings of the upper air; and of cloud observations. Preceded by an introduction. Edinburg: His Majesty’s Stationery Office.
Meteorological Office. 1917a. Daily readings at stations of the first and second orders 1916. British Meteorological and Magnetic Year-Book, 1916. Part III., Section I. London: Meteorological Office.
Meteorological Office. 1917b. British Meteorological and Magnetic Year Book, 1915 . Part III., Section 2. Geophysical Journal, 1915, comprising daily values of the meteorological and geophysical elements at three observatories of the Meteorological Office; together with daily values of solar radiation at South Kensington; wind components at fixed hours at four anemograph stations; tabulations of occasional soundings of the upper air; and of cloud observations. Preceded by an introduction and completed by an annual summary. London: Meteorological Office.
Meteorological Office. 1918. British Meteorological and Magnetic Year Book 1916. Part III., Section 2. Geophysical Journal, 1916, comprising daily values of the meteorological and geophysical elements at three observatories of the Meteorological Office; daily values of solar radiation at South Kensington; wind components at fixed hours at four anemograph stations; tabulations of occasional soundings of the upper air; and of cloud observations; together with annual and special supplements. London: Meteorological Office.
Meteorological Office. 1919. British Meteorological and Magnetic Year Book, 1917. Part III., Section 2. Geophysical Journal, 1917, comprising daily values of the meteorological and geophysical elements at three observatories of the Meteorological Office; daily values of solar radiation at South Kensington; wind components at fixed hours at four anemograph stations; tabulations of occasional soundings of the upper air; and results of observations of cloud and aurora together with an annual supplement. London: Meteorological Office.
Meteorological Office. 1920. British Meteorological and Magnetic Year Book 1918. Part III., Section 2. Geophysical Journal, 1918, comprising daily values of the meteorological and geophysical elements at three observatories of the Meteorological Office; daily values of solar radiation at South Kensington; wind components at fixed hours at four anemograph stations; tabulations of occasional soundings of the upper air; and results of observations of cloud and aurora together with an annual supplement. London: Meteorological Office.
Meteorological Office. 1921. British Meteorological and Magnetic Year Book 1919. Part III., Section 2. Geophysical Journal, 1919, comprising daily values of the meteorological and geophysical elements at three observatories of the Meteorological Office; daily values of solar radiation at South Kensington; wind components at fixed hours at four anemograph stations; tabulations of occasional soundings of the upper air; and results of observations of cloud and aurora; together with an annual supplement. London: His Majesty’s Stationery Office.
Meteorological Office. 1922. British Meteorological and Magnetic Year Book 1920. Part III., Section 2. Geophysical Journal, 1920, comprising daily values of the meteorological and geophysical elements at three observatories of the Meteorological Office; daily values of solar radiation at South Kensington; wind components at fixed hours at four anemograph stations; tabulations of occasional soundings of the upper air; and results of observations of cloud and aurora; together with an annual supplement. London: His Majesty’s Stationery Office.
Meteorological Office. 1923. British Meteorological and Magnetic Year Book 1921. Part III., Section 2. Geophysical Journal, 1921, comprising daily values of the meteorological and geophysical elements at three observatories of the Meteorological Office; daily values of solar radiation at South Kensington; wind components at fixed hours at four anemograph stations; tabulations of occasional soundings of the upper air; and results of observations of cloud and aurora; together with an annual supplement. London: His Majesty’s Stationery Office.
Mollan, R. C. 1995. Irish national inventory of historic scientific instruments. Blackrock: Santon Limited.
Mollan, R. C. 2008. The first observatory on Valentia Island, 1868-1892: observatory museum catalogue. Royal Dublin Society library and archives. (Pamphlets 551.6 VAL)